## OvQA NOTES
These Values were taken from the "Sort Ascending" values of (Current Data QAQC) sheet left in their QAQC Color format.
The gray values are the values taken from the Master spreadsheet
The total collective data set is sorted by ascending by their site number
The final spreadsheet should show the original v the QAQC spreadsheet revealing any changes made.

## nov2017
siteID | xcoord | ycoord | mdcaty | wgt | stratum | panel | EvalStatus | EvalReason | Area_km2 | Perim_km | GNIS_Name | deplyDt | deplyTm | chmStTm | chmDplDt | chm_vol | bbblngO | wtrDpth | smDpthS | Tmp_C_S | DOPrc_S | DO__L_S | SpCn__S | pH_S | ORP_S | TrNTU_S | chla_S | smDpthD | Tmp_C_D | DOPrc_D | DO__L_D | SpCn__D | pH_D | ORP_D | TrNTU_D | chla_D | ArExtnrs | DG_Extn | H2O_vol | HeVol | BrPrssr | RtrvDat | RtrvTim | TtTrpVl | TrapExtn | Notes | LatSamp | LongSmp
SU-01 | 1473723.5635 | -334920.1636 | upper_dam | 1539862.4161 | open_water | mainSites | sampled | NA | 6.16 | 74.88 | Falls Lake | 2017-11-28 | 11:41 | 11:10 | 2019-11-29 | 50 | n | 2.7 | 0.1 | 12.38 | 100.1 | 10.72 | 0.084 | 7.21 | NA | 3.7 | 8.9 | [10 empty] | 11282017.FL.01.DG.1, 11282017.FL.01.DG.2 | 115 | 25 | 759.7 | 2017-11-29 | 11:09 |  |  |  | 36.002090 | 78.634448
SU-02 | 1478072.3967 | -337204.3512 | lower_dam | 1714544.6322 | open_water | mainSites | sampled | NA | 6.86 | 68.05 | Falls Lake | 2017-11-28 | 11:00 | 10:06 | 2019-11-29 | 50 | n | 3.4 | 0.1 | 12.23 | 100.2 | 10.74 | 0.083 | 7.12 | NA | 4.7 | 9.2 | [9 empty] | 11282017.FL.02.AA.1, 11282017.FL.02.AA.2, 11282017.FL.02.AA.3, 11282017.FL.02.AA.4, 11282017.FL.02.AA.5 | 11282017.FL.02.DG.1, 11282017.FL.02.DG.2 | 115 | 25 | 759.7 | 2017-11-29 | 10:06 |  |  |  | 35.9764 | 78.5887
SU-03 | 1464387.0677 | -332897.9712 | north_west | 2431945.9785 | open_water | mainSites | sampled | NA | 9.73 | 34.1 | Falls Lake | 2017-11-28 | 13:04 | 12:53 | 2019-11-29 | 50 | n | 0.8 | 0.1 | 12.47 | 104.2 | 11.1 | 0.119 | 7.37 | NA | 7.6 | 4.6 | [10 empty] | 11282017.FL.03.DG.1, 11282017.FL.03.DG.2 | 115 | 25 | 759.7 | 2017-11-29 | 12:52 | 3 |  |  | 36.032466 | 78.736816
SU-04 | 1462854.5836 | -335718.9926 | north_west | 2431945.9785 | open_water | mainSites | sampled | NA | 9.73 | 34.1 | Falls Lake | 2017-11-28 | 13:16 | 13:22 | 2019-11-29 | 50 | n | 0.6 | 0.1 | 11.6 | 101.9 | 11.06 | 0.123 | 7.39 | NA | 6.8 | 8 | [10 empty] | 11282017.FL.04.DG.1, 11282017.FL.04.DG.2 | 115 | 25 | 759.7 | 2017-11-29 | 13:21 | 8 |  |  | 36.012743 | 78.760618
SU-05 | 1475475.3988 | -338391.5424 | lower_dam | 1714544.6322 | open_water | mainSites | sampled | NA | 6.86 | 68.05 | Falls Lake | 2017-11-28 | 11:10 | 10:30 | 2019-11-29 | 50 | y | 7 | 0.1 | 12.6 | 90 | 9.6 | 0.083 | 7.18 | NA | 4.3 | 12.3 | [10 empty] | 11282017.FL.05.DG.1, 11282017.FL.05.DG.2 | 115 | 25 | 759.7 | 2017-11-29 | 10:30 | 2 |  |  | 35.9702 | 78.621261
SU-06 | 1477918.1101 | -336606.2787 | lower_dam | 1714544.6322 | open_water | mainSites | NotEval | NA | 6.86 | 68.05 | Falls Lake
SU-07 | 1470832.2922 | -335045.6933 | upper_dam | 1539862.4161 | open_water | mainSites | sampled | NA | 6.16 | 74.88 | Falls Lake | 2017-11-28 | 12:00 | 11:41 | 2019-11-29 | 55 | n | 6.4 | 0.1 | 12.06 | 94.3 | 10.15 | 0.088 | 7.25 | NA | 4.7 | 7.3 | 6 | 11.27 | 86.1 | 9.43 | 0.089 | 7.22 | NA | 8.9 | 9.3 |  | 11282017.FL.07.DG.1, 11282017.FL.07.DG.2 | 115 | 25 | 759.7 | 2017-11-29 | 11:40 | 80 | 11282017.FL.07.BT.1, 11282017.FL.07.BT.2, 11282017.FL.07.BT.3 |  | 36.0056 | 78.668
SU-08 | 1463782.236 | -334735.9867 | north_west | 2431945.9785 | open_water | mainSites | sampled | NA | 9.73 | 34.1 | Falls Lake | 2017-11-28 | 13:11 | 13:09 | 2019-11-29 | 50 | n | 3.1 | 0.1 | 11.5 | 99.2 | 10.8 | 0.123 | 7.41 | NA | 5.8 | 7.3 | [14 empty] | 2017-11-29 | 13:08 | 20 | 11282017.FL.08.BT.1 |  | 36.0189 | 78.7487
SU-09 | 1471191.0328 | -335666.8288 | upper_dam | 1539862.4161 | open_water | mainSites | NotEval | NA | 6.16 | 74.88 | Falls Lake
SU-10 | 1462680.4678 | -332462.2072 | north_west | 2431945.9785 | open_water | mainSites | sampled | NA | 9.73 | 34.1 | Falls Lake | 2017-11-28 | 13:35 | 13:41 | 2019-11-29 | 50 | n | 0.8 | 0.1 | 12.1 | 102.7 | 11.05 | 0.155 | 7.43 | NA | 6.8 | 6.6 | [14 empty] | 2017-11-29 | 13:41 |  |  | Sandy | 36.0398 | 78.756
SU-11 | 1466414.9252 | -334215.5331 | north_west | 2431945.9785 | open_water | mainSites | sampled | NA | 9.73 | 34.1 | Falls Lake | 2017-11-28 | 12:27 | 12:13 | 2019-11-29 | 50 |  | 2.5 | 0.1 | 12.53 | 97.7 | 10.42 | 0.1 | 7.26 | NA | 5.2 | 5.1 | [14 empty] | 2017-11-29 | 12:12 | 2 |  | First XXXX good | 36.0193 | 78.717
SU-12 | 1474509.5971 | -339143.2835 | lower_dam | 1714544.6322 | open_water | mainSites | sampled | NA | 6.86 | 68.05 | Falls Lake | 2017-11-28 | 11:20 | 10:40 | 2019-11-29 | 50 | n | 3.5 | 0.1 | 12.6 | 94.7 | 10.08 | 0.083 | 7.18 | NA | 3.7 | 8.3 | [14 empty] | 2017-11-29 | 10:40 | 8 |  |  | 35.9655 | 78.634
SU-13 | 1472663.7435 | -334935.0984 | upper_dam | 1539862.4161 | open_water | mainSites | sampled | NA | 6.16 | 74.88 | Falls Lake | 2017-11-28 | 11:34 | 10:59 | 2019-11-29 | 50 | n | 4.7 | 0.1 | 12.37 | 95.1 | 10.25 | 0.084 | 7.23 | NA | 4.9 | 5.2 | [14 empty] | 2017-11-29 | 10:58 |  |  |  | 36.0037 | 78.6464
SU-14 | 1465540.0067 | -329572.6181 | middle | 2375053.6586 | open_water | mainSites | sampled | NA | 9.5 | 47.15 | Falls Lake | 2017-11-28 | 12:50 | 12:30 | 2019-11-29 | 55 | n | 0.7 | 0.1 | 11.74 | 100.8 | 10.93 | 0.098 | 7.31 | NA | 5.6 | 5.7 | [10 empty] | 11282017.FL.14.DG.1, 11282017.FL.14.DG.2 | 115 | 25 | 759.7 | 2017-11-29 | 12:31 |  |  | Sandy area bumpy | 36.0596 | 78.7177
SU-15 | 1466533.7736 | -333774.2031 | middle | 2375053.6586 | open_water | mainSites | sampled | NA | 9.5 | 47.15 | Falls Lake | 2017-11-28 | 12:30 | 12:03 | 2019-11-29 | 55 | n | 3.6 | 0.1 | 12.65 | 100.2 | 10.65 | 0.1 | 7.25 | NA | 7 | 5.9 | [10 empty] | 11282017.FL.15.DG.1, 11282017.FL.15.DG.2 | 115 | 25 | 759.7 | 2017-11-29 | 12:03 |  |  |  | 36.0228 | 78.7146
SU-16 | 1478377.0683 | -339448.926 | lower_dam | 1714544.6322 | open_water | mainSites | sampled | NA | 6.86 | 68.05 | Falls Lake | 2017-11-28 | 10:45 | 9:52 | 2019-11-29 | 50 | n | NA | 0.1 | 12.9 | 79.8 | 8.43 | 0.083 | 6.56 | NA | 4.4 | 10.2 | [14 empty] | 2017-11-29 | 9:52 |  |  |  | 35.9567 | 78.5904
SU-17 | 1471872.1509 | -338986.1005 | upper_dam | 1539862.4161 | open_water | OverSamp | NotEval | NA | 6.16 | 74.88 | Falls Lake
SU-18 | 1466003.6356 | -327517.8321 | middle | 2375053.6586 | open_water | OverSamp | NotEval | NA | 9.5 | 47.15 | Falls Lake
SU-19 | 1466635.3671 | -336541.1308 | middle | 2375053.6586 | open_water | OverSamp | NotEval | NA | 9.5 | 47.15 | Falls Lake
SU-20 | 1464697.6797 | -334213.4557 | north_west | 2431945.9785 | open_water | OverSamp | NotEval | NA | 9.73 | 34.1 | Falls Lake
SU-21 | 1474071.4815 | -334051.1248 | upper_dam | 1539862.4161 | open_water | OverSamp | sampled | NA | 6.16 | 74.88 | Falls Lake | 2017-11-28 | 11:48 | 11:22 | 2019-11-29 | 55 | n | 2.8 | 0.1 | 11.83 | 101.8 | 11.04 | 0.084 | 7.22 | NA | 3.7 | 8.9 | [14 empty] | 2017-11-29 | 11:21 |  |  |  | 36.009 | 78.6282
SU-22 | 1463782.196 | -333650.3633 | north_west | 2431945.9785 | open_water | OverSamp | NotEval | NA | 9.73 | 34.1 | Falls Lake
SU-23 | 1466637.8331 | -333258.8069 | middle | 2375053.6586 | open_water | OverSamp | NotEval | NA | 9.5 | 47.15 | Falls Lake
SU-24 | 1478871.1743 | -341117.286 | lower_dam | 1714544.6322 | open_water | OverSamp | sampled | NA | 6.86 | 68.05 | Falls Lake | 2017-11-28 | 10:35 | 9:40 | 2019-11-29 | 50 | n | NA | 0.1 | 13.07 | 84.9 | 8.93 | 0.082 | 6.24 | NA | 3.5 | 6.7 | [14 empty] | 2017-11-29 | 9:41 | 1 |  |  | 35.9421 | 78.5882
SU-25 | 1474281.8653 | -338339.8242 | upper_dam | 1539862.4161 | open_water | OverSamp | NotEval | NA | 6.16 | 74.88 | Falls Lake | [30 empty] | 2017-11-29
SU-26 | 1476916.2227 | -339083.9896 | lower_dam | 1714544.6322 | open_water | OverSamp | NotEval | NA | 6.86 | 68.05 | Falls Lake | [30 empty] | 2017-11-29
SU-27 | 1465137.8912 | -332813.5412 | north_west | 2431945.9785 | open_water | OverSamp | NotEval | NA | 9.73 | 34.1 | Falls Lake | [30 empty] | 2017-11-29
SU-28 | 1466082.2034 | -334522.1195 | north_west | 2431945.9785 | open_water | OverSamp | NotEval | NA | 9.73 | 34.1 | Falls Lake | [30 empty] | 2017-11-29
SU-29 | 1472727.8701 | -335939.6817 | upper_dam | 1539862.4161 | open_water | OverSamp | NotEval | NA | 6.16 | 74.88 | Falls Lake | [30 empty] | 2017-11-29
SU-30 | 1465276.0265 | -330959.5805 | middle | 2375053.6586 | open_water | OverSamp | NotEval | NA | 9.5 | 47.15 | Falls Lake | [30 empty] | 2017-11-29
SU-31 | 1466262.3208 | -331948.7852 | middle | 2375053.6586 | open_water | OverSamp | NotEval | NA | 9.5 | 47.15 | Falls Lake | [30 empty] | 2017-11-29
SU-32 | 1478287.137 | -341378.1661 | lower_dam | 1714544.6322 | open_water | OverSamp | NotEval | NA | 6.86 | 68.05 | Falls Lake | [30 empty] | 2017-11-29
SU-33 | 1472911.3666 | -336658.8714 | upper_dam | 1539862.4161 | open_water | OverSamp | NotEval | NA | 6.16 | 74.88 | Falls Lake | [30 empty] | 2017-11-29
SU-34 | 1463664.8937 | -333193.5772 | north_west | 2431945.9785 | open_water | OverSamp | NotEval | NA | 9.73 | 34.1 | Falls Lake | [30 empty] | 2017-11-29
SU-35 | 1467854.7979 | -335042.414 | middle | 2375053.6586 | open_water | OverSamp | NotEval | NA | 9.5 | 47.15 | Falls Lake | [30 empty] | 2017-11-29
SU-36 | 1471524.5452 | -339700.8851 | upper_dam | 1539862.4161 | open_water | OverSamp | NotEval | NA | 6.16 | 74.88 | Falls Lake | [30 empty] | 2017-11-29
SU-37 | 1477487.2281 | -339016.1837 | lower_dam | 1714544.6322 | open_water | OverSamp | NotEval | NA | 6.86 | 68.05 | Falls Lake | [30 empty] | 2017-11-29
SU-38 | 1466057.1358 | -333244.4238 | middle | 2375053.6586 | open_water | OverSamp | NotEval | NA | 9.5 | 47.15 | Falls Lake | [30 empty] | 2017-11-29
SU-39 | 1469065.2243 | -333787.934 | middle | 2375053.6586 | open_water | OverSamp | NotEval | NA | 9.5 | 47.15 | Falls Lake | [30 empty] | 2017-11-29
SU-40 | 1479079.0336 | -339736.4296 | lower_dam | 1714544.6322 | open_water | OverSamp | NotEval | NA | 6.86 | 68.05 | Falls Lake | [30 empty] | 2017-11-29
SU-41 | 1462146.1137 | -330706.011 | trib | 646115.1038 | trib | mainSites | NotEval | NA | 9.05 | 33.96 | Falls Lake | [30 empty] | 2017-11-29
SU-42 | 1458883.2491 | -330137.9261 | trib | 646115.1038 | trib | mainSites | sampled | NA | 9.05 | 33.96 | Falls Lake
SU-43 | 1460807.2695 | -330217.4802 | trib | 646115.1038 | trib | mainSites | sampled | NA | 9.05 | 33.96 | Falls Lake | 2017-11-28 | 14:41 | 15:19 | 2019-11-29 | 50 | n | 0.8 | 0.1 | 12.15 | 115.8 | 12.45 | 0.234 | 8.05 | NA | 21.5 | 21.1 | [9 empty] | 11282017.FL.43.AA.1, 11282017.FL.43.AA.2, 11282017.FL.43.AA.3, 11282017.FL.43.AA.4, 11282017.FL.43.AA.5 | 11282017.FL.43.DG.1, 11282017.FL.43.DG.2 | 115 | 25 | 759.7 | 2017-11-29 | 15:19 | 15 | 11282017.FL.43.BT.1 |  | 36.0615 | 78.7732
SU-44 | 1460043.0494 | -329004.36 | trib | 646115.1038 | trib | mainSites | sampled | NA | 9.05 | 33.96 | Falls Lake
SU-45 | 1462432.3631 | -331996.4386 | trib | 646115.1038 | trib | mainSites | sampled | NA | 9.05 | 33.96 | Falls Lake | 2017-11-28 | 13:40 | 14:00 | 2019-11-29 | 40 | n | [20 empty] | 11282017.FL.45.DG.1, 11282017.FL.45.DG.2 | 115 | 25 | 759.7 | 2017-11-29 | 13:58 |  |  | Near Road, yards away | 36.0441 | 78.7582
SU-46 | 1460419.5007 | -329793.6592 | trib | 646115.1038 | trib | mainSites | NotEval | NA | 9.05 | 33.96 | Falls Lake
SU-47 | 1461044.0072 | -329355.0688 | trib | 646115.1038 | trib | mainSites | sampled | NA | 9.05 | 33.96 | Falls Lake | 2017-11-28 | 14:57 | 15:45 | 2019-11-29 | 50 | n | 1.3 | 0.1 | 13.15 | 112.6 | 11.76 | 0.214 | 8.23 | NA | 11.5 | 12 | [10 empty] | 11282017.FL.47.DG.1, 11282017.FL.47.DG.2 | 115 | 25 | 759.7 | 2017-11-29 | 15:44 | 8 |  |  | 36.0685 | 78.7685
SU-48 | 1459214.3085 | -329057.1478 | trib | 646115.1038 | trib | mainSites | NotEval | NA | 9.05 | 33.96 | Falls Lake
SU-49 | 1462405.3835 | -331127.9209 | trib | 646115.1038 | trib | mainSites | sampled | NA | 9.05 | 33.96 | Falls Lake | 2017-11-28 | 13:58 | 14:27 | 2019-11-29 | 50 | n | 1.8 | 0.1 | 11.63 | 103.5 | 11.16 | 0.201 | 7.53 | NA | 10.5 | 15.9 | [10 empty] | 11282017.FL.49.DG.1, 11282017.FL.49.DG.2 | 115 | 25 | 759.7 | 2017-11-29 | 14:25 | 2 |  | Two side XXX vial, Lots of bird on XXXX | 36.0513 | 78.7569
SU-50 | 1459545.6584 | -329684.5925 | trib | 646115.1038 | trib | mainSites | sampled | NA | 9.05 | 33.96 | Falls Lake
SU-51 | 1460710.1035 | -331828.0701 | trib | 646115.1038 | trib | mainSites | NotEval | NA | 9.05 | 33.96 | Falls Lake
SU-52 | 1461494.6967 | -327926.4661 | trib | 646115.1038 | trib | mainSites | sampled | NA | 9.05 | 33.96 | Falls Lake |  |  | 9:10 | 2019-11-30 | 50 | n | 0.6 | 0.1 | 10.23 | 100.6 | 11.29 | 0.212 | 8.18 | NA | 17.6 | 12.5
SU-53 | 1458850.1861 | -329663.8483 | trib | 646115.1038 | trib | mainSites | sampled | NA | 9.05 | 33.96 | Falls Lake
SU-54 | 1461556.4189 | -330515.0832 | trib | 646115.1038 | trib | mainSites | sampled | NA | 9.05 | 33.96 | Falls Lake | 2017-11-28 | 14:33 | 14:57 | 2019-11-29 | 55 | n | 0.8 | 0.1 | 12.31 | 110.8 | 11.8 | 0.221 | 7.8 | NA | 14.9 | 17.9 | [14 empty] | 2017-11-29 | 14:57 | 3 |  | Trap pass broke | 36.0579 | 78.7652
SU-55 | 1461966.0872 | -331004.3315 | trib | 646115.1038 | trib | OverSamp | sampled | NA | 9.05 | 33.96 | Falls Lake | 2017-11-28 | 14:00 | 14:47 | 2019-11-29 | 50 | n | 1.6 | 0.1 | 12.52 | 107 | 11.34 | 0.212 | 7.67 | NA | 12.5 | 72.5 | [14 empty] | 2017-11-29 | 14:45 | 2 |  |  | 36.0533 | 78.7617
SU-56 | 1461153.3384 | -328803.3603 | trib | 646115.1038 | trib | OverSamp | sampled | NA | 9.05 | 33.96 | Falls Lake |  |  | 9:26 | 2019-11-30 | 50 | n | 1.4 | 0.1 | 10.16 | 102.8 | 11.6 | 0.213 | 7.96 | NA | 11.3 | 11.3
SU-57 | 1462816.7065 | -331412.9729 | trib | 646115.1038 | trib | OverSamp | sampled | NA | 9.05 | 33.96 | Falls Lake | 2017-11-28 | 13:52 | 14:14 | 2019-11-29 | 50 | n | 0.8 | 0.1 | 11.75 | 102 | 11.06 | 0.172 | 8.52 | NA | 9.6 | 8 | [14 empty] | 2017-11-29 | 14:14 |  |  |  | 36.0486 | 78.7521
SU-58 | 1460422.9057 | -329450.8554 | trib | 646115.1038 | trib | OverSamp | sampled | NA | 9.05 | 33.96 | Falls Lake | 2017-11-28 | 14:50 | 15:04 | 2019-11-29 | 50 | n | 0.8 | 0.1 | 12.27 | 106.3 | 11.38 | 0.247 | 8.17 | NA | 13.8 | 21.3 | [14 empty] | 2017-11-29 | 15:32 | 5 |  | BM 759.7 mmHG | 36.0686 | 78.776
SU-59 | 1461126.2994 | -330087.5029 | trib | 646115.1038 | trib | OverSamp | NotEval | NA | 9.05 | 33.96 | Falls Lake
SU-60 | 1459428.8875 | -328451.935 | trib | 646115.1038 | trib | OverSamp | NotEval | NA | 9.05 | 33.96 | Falls Lake
SU-61 | 1462124.2587 | -330939.5687 | trib | 646115.1038 | trib | OverSamp | sampled | NA | 9.05 | 33.96 | Falls Lake | 2017-11-28 | 14:04 | 14:37 | 2019-11-29 | 45 | n | 1.5 | 0.1 | 12.75 | 102.1 | 10.85 | 0.206 | 7.63 | NA | 12 | 14.6 | [14 empty] | 2017-11-29 | 14:36 | 22 | 11282017.FL.61.BT.1 |  | 36.0535 | 78.7595
SU-62 | 1459570.5018 | -329512.4728 | trib | 646115.1038 | trib | OverSamp | NotEval | NA | 9.05 | 33.96 | Falls Lake
SU-63 | 1461188.3192 | -330777.6656 | trib | 646115.1038 | trib | OverSamp | sampled | NA | 9.05 | 33.96 | Falls Lake | 2017-11-28 | 14:26 | 15:07 | 2019-11-29 | 55 | n | 1.5 | 0.1 | 11.67 | 108.5 | 11.66 | 0.211 | 7.92 | NA | 15.2 | 12.7 | [14 empty] | 2017-11-29 | 15:07 | 1 |  |  | 36.0561 | 78.7702
SU-64 | 1459638.6019 | -328615.2211 | trib | 646115.1038 | trib | OverSamp | NotEval | NA | 9.05 | 33.96 | Falls Lake
SU-65 | 1458234.7385 | -330010.8762 | trib | 646115.1038 | trib | OverSamp | NotEval | NA | 9.05 | 33.96 | Falls Lake
SU-66 | 1461647.0779 | -330045.9494 | trib | 646115.1038 | trib | OverSamp | NotEval | NA | 9.05 | 33.96 | Falls Lake
SU-67 | 1461742.2885 | -331417.5439 | trib | 646115.1038 | trib | OverSamp | NotEval | NA | 9.05 | 33.96 | Falls Lake
SU-68 | 1461175.2208 | -329223.5586 | trib | 646115.1038 | trib | OverSamp | sampled | NA | 9.05 | 33.96 | Falls Lake |  |  | 9:38 | 2019-11-30 | 50 | n | 1.5 | 0.1 | 10.05 | 97.3 | 10.96 | 0.217 | 7.91 | NA | 12.5 | 14
SU-69 | 1458438.2689 | -329652.2551 | trib | 646115.1038 | trib | OverSamp | NotEval | NA | 9.05 | 33.96 | Falls Lake
SU-70 | 1461635.33 | -329297.862 | trib | 646115.1038 | trib | OverSamp | NotEval | NA | 9.05 | 33.96 | Falls Lake
SU-71 | 1460210.701 | -329218.6291 | trib | 646115.1038 | trib | OverSamp | NotEval | NA | 9.05 | 33.96 | Falls Lake
SU-72 | 1461503.0405 | -328794.6001 | trib | 646115.1038 | trib | OverSamp | NotEval | NA | 9.05 | 33.96 | Falls Lake
QA/QC NOTES
JBB 2/26/20 | I would double check all coulumns G&H. |  |  |  |  | AB - checked and changed to proper format, some eval info for not sampled incorrect possibly
JBB 2/26/20 | Check all bbblngO data. Seems like it was column in put error |  |  |  |  | AB - looks good
JBB 2/26/20 | 58 - BrPrssr make sure to check. |  |  |  |  | Adam put BP from one site on all dg sites
JBB 2/26/20 | 49 TtTrpVl make sure to check if it should be 2 |  |  |  |  | AB - looks like note taker accidentally struck the 2mL, there are no initials or date to signify a mistake correction
JBB 2/26/20 | Check all "Notes"
JBB 2/26/20 | Chamber times do not go out to seconds. |  |  |  |  | AB - I think that is okay, jake defines hours and minutes in guidance
JBB 3/24/20 | Water and Helium volume are not listed on the datasheet so no values were entered |  |  |  |  | Adam put in 115 for water and 25 for gas
AB - all corrections checked 4/23/2020

## Orig and QA
These Values were taken from the "Sort Ascending" values of ("Current Date" QAQC) sheet left in their QAQC'd Color format.
The gray values are the values taken from the Master spreadsheet
The total pre and post QAQC data set is sorted by ascending by their site number
The final spreadsheet should show the original v the QAQC spreadsheet revealing any changes made.
siteID | xcoord | ycoord | mdcaty | wgt | stratum | panel | EvalStatus | EvalReason | Area_km2 | Perim_km | GNIS_Name | deplyDt | deplyTm | chmStTm | chmDplDt | chm_vol | bbblngO | wtrDpth | smDpthS | Tmp_C_S | DOPrc_S | DO__L_S | SpCn__S | pH_S | ORP_S | TrNTU_S | chla_S | smDpthD | Tmp_C_D | DOPrc_D | DO__L_D | SpCn__D | pH_D | ORP_D | TrNTU_D | chla_D | ArExtnrs | DG_Extn | H2O_vol | HeVol | BrPrssr | RtrvDat | RtrvTim | TtTrpVl | TrapExtn | Notes | LatSamp | LongSmp
siteID | xcoord | ycoord | mdcaty | wgt | stratum | panel | EvalStatus | EvalReason | Area_km2 | Perim_km | GNIS_Name | deplyDt | deplyTm | chmStTm | chmDplDt | chm_vol | bbblngO | wtrDpth | smDpthS | Tmp_C_S | DOPrc_S | DO__L_S | SpCn__S | pH_S | ORP_S | TrNTU_S | chla_S | smDpthD | Tmp_C_D | DOPrc_D | DO__L_D | SpCn__D | pH_D | ORP_D | TrNTU_D | chla_D | ArExtnrs | DG_Extn | H2O_vol | HeVol | BrPrssr | RtrvDat | RtrvTim | TtTrpVl | TrapExtn | Notes | LatSamp | LongSmp
SU-01 | 1473723.5635 | -334920.1636 | upper_dam | 1539862.4161 | open_water | mainSites | sampled | NA | 6.16 | 74.88 | Falls Lake | 2017-11-28 | 11:41 | 11:10 | 2019-11-29 | 50 | n | 2.7 | 0.1 | 12.38 | 100.1 | 10.72 | 0.084 | 7.21 | NA | 3.7 | 8.9 | [10 empty] | 11282017.FL.01.DG.1, 11282017.FL.01.DG.2 |  |  |  | 2017-11-29 | 11:09 |  |  |  | 36.002090 | 78.634448
SU-01 | 1473723.5635 | -334920.1636 | upper_dam | 1539862.4161 | open_water | mainSites | sampled | NA | 6.16 | 74.88 | Falls Lake | 2017-11-28 | 11:41 | 11:10 | 2019-11-29 | 50 | y | 2.7 | 0.1 | 12.38 | 100.1 | 10.72 | 0.084 | 7.22 | NA | 3.7 | 8.9 | [10 empty] | 11282017.FL.01.DG.1, 11282017.FL.01.DG.2 |  |  |  | 2017-11-29 | 11:09 |  |  |  | 36.002090 | 78.634448
SU-02 | 1478072.3967 | -337204.3512 | lower_dam | 1714544.6322 | open_water | mainSites | sampled | NA | 6.86 | 68.05 | Falls Lake | 2017-11-28 | 11:00 | 10:06 | 2019-11-29 | 50 | n | 3.4 | 0.1 | 12.23 | 100.2 | 10.74 | 0.083 | 7.12 | NA | 4.7 | 9.2 | [9 empty] | 11282017.FL.02.AA.1, 11282017.FL.02.AA.2, 11282017.FL.02.AA.3, 11282017.FL.02.AA.4, 11282017.FL.02.AA.5 | 11282017.FL.02.DG.1, 11282017.FL.02.DG.2 |  |  |  | 2017-11-29 | 10:06 |  |  |  | 35.9764 | 78.5887
SU-02 | 1478072.3967 | -337204.3512 | lower_dam | 1714544.6322 | open_water | mainSites | sampled | NA | 6.86 | 68.05 | Falls Lake | 2017-11-28 | 11:00 | 10:06 | 2019-11-29 | 50 | y | 3.4 | 0.1 | 12.23 | 100.2 | 10.74 | 0.083 | 7.12 | NA | 4.7 | 9.2 | [9 empty] | 11282017.FL.02.AA.1, 11282017.FL.02.AA.2, 11282017.FL.02.AA.3, 11282017.FL.02.AA.4, 11282017.FL.02.AA.5 | 11282017.FL.02.DG.1, 11282017.FL.02.DG.2 |  |  |  | 2017-11-29 | 10:06 |  |  |  | 35.9764 | 78.5887
SU-03 | 1464387.0677 | -332897.9712 | north_west | 2431945.9785 | open_water | mainSites | sampled | NA | 9.73 | 34.1 | Falls Lake | 2017-11-28 | 13:04 | 12:53 | 2019-11-29 | 50 | n | 0.8 | 0.1 | 12.47 | 104.2 | 11.1 | 0.119 | 7.37 | NA | 7.6 | 4.6 | [10 empty] | 11282017.FL.03.DG.1, 11282017.FL.03.DG.2 |  |  |  | 2017-11-29 | 12:52 | 3 |  |  | 36.032466 | 78.736816
SU-03 | 1464387.0677 | -332897.9712 | north_west | 2431945.9785 | open_water | mainSites | sampled | NA | 9.73 | 34.1 | Falls Lake | 2017-11-28 | 13:04 | 12:53 | 2019-11-29 | 50 | y | 0.8 | 0.1 | 12.47 | 104.2 | 11.1 | 0.119 | 7.37 | NA | 7.6 | 4.6 | [10 empty] | 11282017.FL.03.DG.1, 11282017.FL.03.DG.2 |  |  |  | 2017-11-29 | 12:52 | 3 |  |  | 36.032466 | 78.736816
SU-04 | 1462854.5836 | -335718.9926 | north_west | 2431945.9785 | open_water | mainSites | sampled | NA | 9.73 | 34.1 | Falls Lake | 2017-11-28 | 13:16 | 13:22 | 2019-11-29 | 50 | n | 0.6 | 0.1 | 11.6 | 101.9 | 11.06 | 0.123 | 7.39 | NA | 6.8 | 8 | [10 empty] | 11282017.FL.04.DG.1, 11282017.FL.04.DG.2 |  |  |  | 2017-11-29 | 13:21 | 8 |  |  | 36.012743 | 78.760618
SU-04 | 1462854.5836 | -335718.9926 | north_west | 2431945.9785 | open_water | mainSites | sampled | NA | 9.73 | 34.1 | Falls Lake | 2017-11-28 | 13:16 | 13:22 | 2019-11-29 | 50 | y | 0.6 | 0.1 | 11.6 | 101.9 | 11.06 | 0.123 | 7.39 | NA | 6.8 | 8 | [10 empty] | 11282017.FL.04.DG.1, 11282017.FL.04.DG.2 |  |  |  | 2017-11-29 | 13:21 | 8 |  |  | 36.012743 | 78.760618
SU-05 | 1475475.3988 | -338391.5424 | lower_dam | 1714544.6322 | open_water | mainSites | sampled | NA | 6.86 | 68.05 | Falls Lake | 2017-11-28 | 11:10 | 10:30 | 2019-11-29 | 50 | y | 7 | 0.1 | 12.6 | 90 | 9.6 | 0.083 | 7.18 | NA | 4.3 | 12.3 | [10 empty] | 11282017.FL.05.DG.1, 11282017.FL.05.DG.2 |  |  |  | 2017-11-29 | 10:30 | 2 |  |  | 35.9702 | 78.621261
SU-05 | 1475475.3988 | -338391.5424 | lower_dam | 1714544.6322 | open_water | mainSites | sampled | NA | 6.86 | 68.05 | Falls Lake | 2017-11-28 | 11:10 | 10:30 | 2019-11-29 | 50 | y | 7 | 0.1 | 12.6 | 90 | 9.6 | 0.083 | 7.18 | NA | 4.3 | 12.3 | [10 empty] | 11282017.FL.05.DG.1, 11282017.FL.05.DG.2 |  |  |  | 2017-11-29 | 10:30 | 2 |  |  | 35.9702 | 78.621261
SU-06 | 1477918.1101 | -336606.2787 | lower_dam | 1714544.6322 | open_water | mainSites | notEval | NA | 6.86 | 68.05 | Falls Lake
SU-06 | 1477918.1101 | -336606.2787 | lower_dam | 1714544.6322 | open_water | mainSites | NotEval | NA | 6.86 | 68.05 | Falls Lake
SU-07 | 1470832.2922 | -335045.6933 | upper_dam | 1539862.4161 | open_water | mainSites | sampled | NA | 6.16 | 74.88 | Falls Lake | 2017-11-28 | 12:00 | 11:41 | 2019-11-29 | 55 | n | 6.4 | 0.1 | 12.06 | 94.3 | 10.15 | 0.088 | 7.25 | NA | 4.7 | 7.3 | 6 | 11.27 | 86.1 | 9.43 | 0.089 | 7.22 | NA | 8.9 | 9.3 |  | 11282017.FL.07.DG.1, 11282017.FL.07.DG.2 |  |  |  | 2017-11-29 | 11:40 | 80 | 11282017.FL.07.BT.1, 11282017.FL.07.BT.2, 11282017.FL.07.BT.3 |  | 36.0056 | 78.668
SU-07 | 1470832.2922 | -335045.6933 | upper_dam | 1539862.4161 | open_water | mainSites | sampled | NA | 6.16 | 74.88 | Falls Lake | 2017-11-28 | 12:00 | 11:41 | 2019-11-29 | 55 | y | 6.4 | 0.1 | 12.06 | 94.3 | 10.15 | 0.088 | 7.25 | NA | 7.3 | 4.7 | 6 | 11.27 | 86.1 | 9.43 | 0.089 | 7.22 | NA | 8.9 | 9.3 |  | 11282017.FL.07.DG.1, 11282017.FL.07.DG.2 |  |  |  | 2017-11-29 | 11:40 | 80 | 11282017.FL.07.BT.1, 11282017.FL.07.BT.2, 11282017.FL.07.BT.3 |  | 36.0056 | 78.668
SU-08 | 1463782.236 | -334735.9867 | north_west | 2431945.9785 | open_water | mainSites | sampled | NA | 9.73 | 34.1 | Falls Lake | 2017-11-28 | 13:11 | 13:09 | 2019-11-29 | 50 | n | 3.1 | 0.1 | 11.5 | 99.2 | 10.8 | 0.123 | 7.41 | NA | 5.8 | 7.3 | [14 empty] | 2017-11-29 | 13:08 | 20 | 11282017.FL.08.BT.1 |  | 36.0189 | 78.7487
SU-08 | 1463782.236 | -334735.9867 | north_west | 2431945.9785 | open_water | mainSites | sampled | NA | 9.73 | 34.1 | Falls Lake | 2017-11-28 | 13:11 | 13:09 | 2019-11-29 | 50 | y | 3.1 | 0.1 | 11.5 | 99.2 | 10.8 | 0.123 | 7.41 | NA | 5.8 | 7.3 | [14 empty] | 2017-11-29 | 13:08 | 20 | 11282017.FL.08.BT.1 |  | 36.0189 | 78.7487
SU-09 | 1471191.0328 | -335666.8288 | upper_dam | 1539862.4161 | open_water | mainSites | notEval | NA | 6.16 | 74.88 | Falls Lake
SU-09 | 1471191.0328 | -335666.8288 | upper_dam | 1539862.4161 | open_water | mainSites | NotEval | NA | 6.16 | 74.88 | Falls Lake
SU-10 | 1462680.4678 | -332462.2072 | north_west | 2431945.9785 | open_water | mainSites | sampled | NA | 9.73 | 34.1 | Falls Lake | 2017-11-28 | 13:35 | 13:41 | 2019-11-29 | 50 | n | 0.8 | 0.1 | 12.1 | 102.7 | 11.05 | 0.155 | 7.43 | NA | 6.8 | 6.6 | [14 empty] | 2017-11-29 | 13:41 |  |  | Sandy | 36.0398 | 78.756
SU-10 | 1462680.4678 | -332462.2072 | north_west | 2431945.9785 | open_water | mainSites | sampled | NA | 9.73 | 34.1 | Falls Lake | 2017-11-28 | 13:35 | 13:41 | 2019-11-29 | 50 | y | 0.8 | 0.1 | 12.1 | 102.7 | 11.05 | 0.155 | 7.43 | NA | 6.8 | 6.6 | [14 empty] | 2017-11-29 | 13:41 |  |  |  | 36.0398 | 78.756
SU-11 | 1466414.9252 | -334215.5331 | north_west | 2431945.9785 | open_water | mainSites | sampled | NA | 9.73 | 34.1 | Falls Lake | 2017-11-28 | 12:27 | 12:13 | 2019-11-29 | 50 |  | 2.5 | 0.1 | 12.53 | 97.7 | 10.42 | 0.1 | 7.26 | NA | 5.2 | 5.1 | [14 empty] | 2017-11-29 | 12:12 | 2 |  | First XXXX good | 36.0193 | 78.717
SU-11 | 1466414.9252 | -334215.5331 | north_west | 2431945.9785 | open_water | mainSites | sampled | NA | 9.73 | 34.1 | Falls Lake | 2017-11-28 | 12:27 | 12:13 | 2019-11-29 | 50 | y | 2.5 | 0.1 | 12.53 | 97.7 | 10.42 | 0.1 | 7.26 | NA | 5.2 | 5.1 | [14 empty] | 2017-11-29 | 12:12 | 2 |  |  | 36.0193 | 78.717
SU-12 | 1474509.5971 | -339143.2835 | lower_dam | 1714544.6322 | open_water | mainSites | sampled | NA | 6.86 | 68.05 | Falls Lake | 2017-11-28 | 11:20 | 10:40 | 2019-11-29 | 50 | n | 3.5 | 0.1 | 12.6 | 94.7 | 10.08 | 0.083 | 7.18 | NA | 3.7 | 8.3 | [14 empty] | 2017-11-29 | 10:40 | 8 |  |  | 35.9655 | 78.634
SU-12 | 1474509.5971 | -339143.2835 | lower_dam | 1714544.6322 | open_water | mainSites | sampled | NA | 6.86 | 68.05 | Falls Lake | 2017-11-28 | 11:20 | 10:40 | 2019-11-29 | 50 | y | 3.5 | 0.1 | 12.6 | 94.7 | 10.08 | 0.083 | 7.18 | NA | 3.7 | 8.9 | [14 empty] | 2017-11-29 | 10:40 | 8 |  |  | 35.9655 | 78.634
SU-13 | 1472663.7435 | -334935.0984 | upper_dam | 1539862.4161 | open_water | mainSites | sampled | NA | 6.16 | 74.88 | Falls Lake | 2017-11-28 | 11:34 | 10:59 | 2019-11-29 | 50 | n | 4.7 | 0.1 | 12.37 | 95.1 | 10.25 | 0.084 | 7.23 | NA | 4.9 | 5.2 | [14 empty] | 2017-11-29 | 10:58 |  |  |  | 36.0037 | 78.6464
SU-13 | 1472663.7435 | -334935.0984 | upper_dam | 1539862.4161 | open_water | mainSites | sampled | NA | 6.16 | 74.88 | Falls Lake | 2017-11-28 | 11:34 | 10:59 | 2019-11-29 | 50 | y | 4.7 | 0.1 | 12.37 | 95.1 | 10.25 | 0.084 | 7.23 | NA | 4.9 | 5.2 | [14 empty] | 2017-11-29 | 10:58 |  |  |  | 36.0037 | 78.6464
SU-14 | 1465540.0067 | -329572.6181 | middle | 2375053.6586 | open_water | mainSites | sampled | NA | 9.5 | 47.15 | Falls Lake | 2017-11-28 | 12:50 | 12:30 | 2019-11-29 | 55 | n | 0.7 | 0.1 | 11.74 | 100.8 | 10.93 | 0.098 | 7.31 | NA | 5.6 | 5.7 | [10 empty] | 11282017.FL.14.DG.1, 11282017.FL.14.DG.2 |  |  |  | 2017-11-29 | 12:31 |  |  | Sandy area bumpy | 36.0596 | 78.7177
SU-14 | 1465540.0067 | -329572.6181 | middle | 2375053.6586 | open_water | mainSites | sampled | NA | 9.5 | 47.15 | Falls Lake | 2017-11-28 | 12:50 | 12:30 | 2019-11-29 | 55 | y | 0.7 | 0.1 | 11.74 | 100.8 | 10.93 | 0.098 | 7.31 | NA | 5.6 | 5.7 | [10 empty] | 11282017.FL.14.DG.1, 11282017.FL.14.DG.2 |  |  |  | 2017-11-29 | 12:31 |  |  |  | 36.0596 | 78.7177
SU-15 | 1466533.7736 | -333774.2031 | middle | 2375053.6586 | open_water | mainSites | sampled | NA | 9.5 | 47.15 | Falls Lake | 2017-11-28 | 12:30 | 12:03 | 2019-11-29 | 55 | n | 3.6 | 0.1 | 12.65 | 100.2 | 10.65 | 0.1 | 7.25 | NA | 7 | 5.9 | [10 empty] | 11282017.FL.15.DG.1, 11282017.FL.15.DG.2 |  |  |  | 2017-11-29 | 12:03 |  |  |  | 36.0228 | 78.7146
SU-15 | 1466533.7736 | -333774.2031 | middle | 2375053.6586 | open_water | mainSites | sampled | NA | 9.5 | 47.15 | Falls Lake | 2017-11-28 | 12:30 | 12:03 | 2019-11-29 | 55 | y | 3.6 | 0.1 | 12.65 | 100.2 | 10.65 | 0.1 | 7.25 | NA | 7 | 5.9 | [10 empty] | 11282017.FL.15.DG.1, 11282017.FL.15.DG.2 |  |  |  | 2017-11-29 | 12:03 |  |  |  | 36.0228 | 78.7146
SU-16 | 1478377.0683 | -339448.926 | lower_dam | 1714544.6322 | open_water | mainSites | sampled | NA | 6.86 | 68.05 | Falls Lake | 2017-11-28 | 10:45 | 9:52 | 2019-11-29 | 50 | n | NA | 0.1 | 12.9 | 79.8 | 8.43 | 0.083 | 6.56 | NA | 4.4 | 10.2 | [14 empty] | 2017-11-29 | 9:52 |  |  |  | 35.9567 | 78.5904
SU-16 | 1478377.0683 | -339448.926 | lower_dam | 1714544.6322 | open_water | mainSites | sampled | NA | 6.86 | 68.05 | Falls Lake | 2017-11-28 | 10:45 | 9:52 | 2019-11-29 | 50 | y | NA | 0.1 | 12.9 | 79.8 | 8.43 | 0.083 | 6.56 | NA | 4.4 | 10.2 | [14 empty] | 2017-11-29 | 9:52 |  |  |  | 35.9567 | 78.5904
SU-17 | 1471872.1509 | -338986.1005 | upper_dam | 1539862.4161 | open_water | overSamp | notEval | NA | 6.16 | 74.88 | Falls Lake
SU-17 | 1471872.1509 | -338986.1005 | upper_dam | 1539862.4161 | open_water | OverSamp | NotEval | NA | 6.16 | 74.88 | Falls Lake
SU-18 | 1466003.6356 | -327517.8321 | middle | 2375053.6586 | open_water | overSamp | notEval | NA | 9.5 | 47.15 | Falls Lake
SU-18 | 1466003.6356 | -327517.8321 | middle | 2375053.6586 | open_water | OverSamp | NotEval | NA | 9.5 | 47.15 | Falls Lake
SU-19 | 1466635.3671 | -336541.1308 | middle | 2375053.6586 | open_water | overSamp | notEval | NA | 9.5 | 47.15 | Falls Lake
SU-19 | 1466635.3671 | -336541.1308 | middle | 2375053.6586 | open_water | OverSamp | NotEval | NA | 9.5 | 47.15 | Falls Lake
SU-20 | 1464697.6797 | -334213.4557 | north_west | 2431945.9785 | open_water | overSamp | notEval | NA | 9.73 | 34.1 | Falls Lake
SU-20 | 1464697.6797 | -334213.4557 | north_west | 2431945.9785 | open_water | OverSamp | NotEval | NA | 9.73 | 34.1 | Falls Lake
SU-21 | 1474071.4815 | -334051.1248 | upper_dam | 1539862.4161 | open_water | overSamp | sampled | NA | 6.16 | 74.88 | Falls Lake | 2017-11-28 | 11:48 | 11:22 | 2019-11-29 | 55 | n | 2.8 | 0.1 | 11.83 | 101.8 | 11.04 | 0.084 | 7.22 | NA | 3.7 | 8.9 | [14 empty] | 2017-11-29 | 11:21 |  |  |  | 36.009 | 78.6282
SU-21 | 1474071.4815 | -334051.1248 | upper_dam | 1539862.4161 | open_water | OverSamp | NotEval | NA | 6.16 | 74.88 | Falls Lake | 2017-11-28 | 11:48 | 11:22 | 2019-11-29 | 55 | y | 2.8 | 0.1 | 11.83 | 101.8 | 11.04 | 0.084 | 7.22 | NA | 3.7 | 8.9 | [14 empty] | 2017-11-29 | 11:21 |  |  |  | 36.009 | 78.6282
SU-22 | 1463782.196 | -333650.3633 | north_west | 2431945.9785 | open_water | overSamp | notEval | NA | 9.73 | 34.1 | Falls Lake
SU-22 | 1463782.196 | -333650.3633 | north_west | 2431945.9785 | open_water | OverSamp | NotEval | NA | 9.73 | 34.1 | Falls Lake
SU-23 | 1466637.8331 | -333258.8069 | middle | 2375053.6586 | open_water | overSamp | notEval | NA | 9.5 | 47.15 | Falls Lake
SU-23 | 1466637.8331 | -333258.8069 | middle | 2375053.6586 | open_water | OverSamp | NotEval | NA | 9.5 | 47.15 | Falls Lake
SU-24 | 1478871.1743 | -341117.286 | lower_dam | 1714544.6322 | open_water | overSamp | sampled | NA | 6.86 | 68.05 | Falls Lake | 2017-11-28 | 10:35 | 9:40 | 2019-11-29 | 50 | n | NA | 0.1 | 13.07 | 84.9 | 8.93 | 0.082 | 6.24 | NA | 3.5 | 6.7 | [14 empty] | 2017-11-29 | 9:41 | 1 |  |  | 35.9421 | 78.5882
SU-24 | 1478871.1743 | -341117.286 | lower_dam | 1714544.6322 | open_water | OverSamp | sampled | NA | 6.86 | 68.05 | Falls Lake | 2017-11-28 | 10:35 | 9:40 | 2019-11-29 | 50 | y | NA | 0.1 | 13.07 | 84.9 | 8.93 | 0.082 | 6.24 | NA | 3.5 | 6.7 | [14 empty] | 2017-11-29 | 9:41 | 1 |  |  | 35.9421 | 78.5882
SU-25 | 1474281.8653 | -338339.8242 | upper_dam | 1539862.4161 | open_water | overSamp | notEval | NA | 6.16 | 74.88 | Falls Lake | [30 empty] | 2017-11-29
SU-25 | 1474281.8653 | -338339.8242 | upper_dam | 1539862.4161 | open_water | OverSamp | NotEval | NA | 6.16 | 74.88 | Falls Lake | [30 empty] | 2017-11-29
SU-26 | 1476916.2227 | -339083.9896 | lower_dam | 1714544.6322 | open_water | overSamp | notEval | NA | 6.86 | 68.05 | Falls Lake | [30 empty] | 2017-11-29
SU-26 | 1476916.2227 | -339083.9896 | lower_dam | 1714544.6322 | open_water | OverSamp | NotEval | NA | 6.86 | 68.05 | Falls Lake | [30 empty] | 2017-11-29
SU-27 | 1465137.8912 | -332813.5412 | north_west | 2431945.9785 | open_water | overSamp | notEval | NA | 9.73 | 34.1 | Falls Lake | [30 empty] | 2017-11-29
SU-27 | 1465137.8912 | -332813.5412 | north_west | 2431945.9785 | open_water | OverSamp | NotEval | NA | 9.73 | 34.1 | Falls Lake | [30 empty] | 2017-11-29
SU-28 | 1466082.2034 | -334522.1195 | north_west | 2431945.9785 | open_water | overSamp | notEval | NA | 9.73 | 34.1 | Falls Lake | [30 empty] | 2017-11-29
SU-28 | 1466082.2034 | -334522.1195 | north_west | 2431945.9785 | open_water | OverSamp | NotEval | NA | 9.73 | 34.1 | Falls Lake | [30 empty] | 2017-11-29
SU-29 | 1472727.8701 | -335939.6817 | upper_dam | 1539862.4161 | open_water | overSamp | notEval | NA | 6.16 | 74.88 | Falls Lake | [30 empty] | 2017-11-29
SU-29 | 1472727.8701 | -335939.6817 | upper_dam | 1539862.4161 | open_water | OverSamp | NotEval | NA | 6.16 | 74.88 | Falls Lake | [30 empty] | 2017-11-29
SU-30 | 1465276.0265 | -330959.5805 | middle | 2375053.6586 | open_water | overSamp | notEval | NA | 9.5 | 47.15 | Falls Lake | [30 empty] | 2017-11-29
SU-30 | 1465276.0265 | -330959.5805 | middle | 2375053.6586 | open_water | OverSamp | NotEval | NA | 9.5 | 47.15 | Falls Lake | [30 empty] | 2017-11-29
SU-31 | 1466262.3208 | -331948.7852 | middle | 2375053.6586 | open_water | overSamp | notEval | NA | 9.5 | 47.15 | Falls Lake | [30 empty] | 2017-11-29
SU-31 | 1466262.3208 | -331948.7852 | middle | 2375053.6586 | open_water | OverSamp | NotEval | NA | 9.5 | 47.15 | Falls Lake | [30 empty] | 2017-11-29
SU-32 | 1478287.137 | -341378.1661 | lower_dam | 1714544.6322 | open_water | overSamp | notEval | NA | 6.86 | 68.05 | Falls Lake | [30 empty] | 2017-11-29
SU-32 | 1478287.137 | -341378.1661 | lower_dam | 1714544.6322 | open_water | OverSamp | NotEval | NA | 6.86 | 68.05 | Falls Lake | [30 empty] | 2017-11-29
SU-33 | 1472911.3666 | -336658.8714 | upper_dam | 1539862.4161 | open_water | overSamp | notEval | NA | 6.16 | 74.88 | Falls Lake | [30 empty] | 2017-11-29
SU-33 | 1472911.3666 | -336658.8714 | upper_dam | 1539862.4161 | open_water | OverSamp | NotEval | NA | 6.16 | 74.88 | Falls Lake | [30 empty] | 2017-11-29
SU-34 | 1463664.8937 | -333193.5772 | north_west | 2431945.9785 | open_water | overSamp | notEval | NA | 9.73 | 34.1 | Falls Lake | [30 empty] | 2017-11-29
SU-34 | 1463664.8937 | -333193.5772 | north_west | 2431945.9785 | open_water | OverSamp | NotEval | NA | 9.73 | 34.1 | Falls Lake | [30 empty] | 2017-11-29
SU-35 | 1467854.7979 | -335042.414 | middle | 2375053.6586 | open_water | overSamp | notEval | NA | 9.5 | 47.15 | Falls Lake | [30 empty] | 2017-11-29
SU-35 | 1467854.7979 | -335042.414 | middle | 2375053.6586 | open_water | OverSamp | NotEval | NA | 9.5 | 47.15 | Falls Lake | [30 empty] | 2017-11-29
SU-36 | 1471524.5452 | -339700.8851 | upper_dam | 1539862.4161 | open_water | overSamp | notEval | NA | 6.16 | 74.88 | Falls Lake | [30 empty] | 2017-11-29
SU-36 | 1471524.5452 | -339700.8851 | upper_dam | 1539862.4161 | open_water | OverSamp | NotEval | NA | 6.16 | 74.88 | Falls Lake | [30 empty] | 2017-11-29
SU-37 | 1477487.2281 | -339016.1837 | lower_dam | 1714544.6322 | open_water | overSamp | notEval | NA | 6.86 | 68.05 | Falls Lake | [30 empty] | 2017-11-29
SU-37 | 1477487.2281 | -339016.1837 | lower_dam | 1714544.6322 | open_water | OverSamp | NotEval | NA | 6.86 | 68.05 | Falls Lake | [30 empty] | 2017-11-29
SU-38 | 1466057.1358 | -333244.4238 | middle | 2375053.6586 | open_water | overSamp | notEval | NA | 9.5 | 47.15 | Falls Lake | [30 empty] | 2017-11-29
SU-38 | 1466057.1358 | -333244.4238 | middle | 2375053.6586 | open_water | OverSamp | NotEval | NA | 9.5 | 47.15 | Falls Lake | [30 empty] | 2017-11-29
SU-39 | 1469065.2243 | -333787.934 | middle | 2375053.6586 | open_water | overSamp | notEval | NA | 9.5 | 47.15 | Falls Lake | [30 empty] | 2017-11-29
SU-39 | 1469065.2243 | -333787.934 | middle | 2375053.6586 | open_water | OverSamp | NotEval | NA | 9.5 | 47.15 | Falls Lake | [30 empty] | 2017-11-29
SU-40 | 1479079.0336 | -339736.4296 | lower_dam | 1714544.6322 | open_water | overSamp | notEval | NA | 6.86 | 68.05 | Falls Lake | [30 empty] | 2017-11-29
SU-40 | 1479079.0336 | -339736.4296 | lower_dam | 1714544.6322 | open_water | OverSamp | NotEval | NA | 6.86 | 68.05 | Falls Lake | [30 empty] | 2017-11-29
SU-41 | 1462146.1137 | -330706.011 | trib | 646115.1038 | trib | mainSites | notEval | NA | 9.05 | 33.96 | Falls Lake | [30 empty] | 2017-11-29
SU-41 | 1462146.1137 | -330706.011 | trib | 646115.1038 | trib | mainSites | NotEval | NA | 9.05 | 33.96 | Falls Lake | [30 empty] | 2017-11-29
SU-42 | 1458883.2491 | -330137.9261 | trib | 646115.1038 | trib | mainSites | sampled | NA | 9.05 | 33.96 | Falls Lake
SU-42 | 1458883.2491 | -330137.9261 | trib | 646115.1038 | trib | mainSites | sampled | NA | 9.05 | 33.96 | Falls Lake
SU-43 | 1460807.2695 | -330217.4802 | trib | 646115.1038 | trib | mainSites | sampled | NA | 9.05 | 33.96 | Falls Lake | 2017-11-28 | 14:41 | 15:19 | 2019-11-29 | 50 | n | 0.8 | 0.1 | 12.15 | 115.8 | 12.45 | 0.234 | 8.05 | NA | 21.5 | 21.1 | [9 empty] | 11282017.FL.43.AA.1, 11282017.FL.43.AA.2, 11282017.FL.43.AA.3, 11282017.FL.43.AA.4, 11282017.FL.43.AA.5 | 11282017.FL.43.DG.1, 11282017.FL.43.DG.2 |  |  | 759.7 | 2017-11-29 | 15:19 | 15 | 11282017.FL.43.BT.1 |  | 36.0615 | 78.7732
SU-43 | 1460807.2695 | -330217.4802 | trib | 646115.1038 | trib | mainSites | sampled | NA | 9.05 | 33.96 | Falls Lake | 2017-11-28 | 14:41 | 15:19 | 2019-11-29 | 50 | y | 0.8 | 0.1 | 12.15 | 115.8 | 12.45 | 0.234 | 8.05 | NA | 21.5 | 21.1 | [9 empty] | 11282017.FL.43.AA.1, 11282017.FL.43.AA.2, 11282017.FL.43.AA.3, 11282017.FL.43.AA.4, 11282017.FL.43.AA.5 | 11282017.FL.43.DG.1, 11282017.FL.43.DG.2 |  |  | 759.7 | 2017-11-29 | 15:19 | 15 | 11282017.FL.43.BT.1 |  | 36.0615 | 78.7732
SU-44 | 1460043.0494 | -329004.36 | trib | 646115.1038 | trib | mainSites | sampled | NA | 9.05 | 33.96 | Falls Lake
SU-44 | 1460043.0494 | -329004.36 | trib | 646115.1038 | trib | mainSites | sampled | NA | 9.05 | 33.96 | Falls Lake
SU-45 | 1462432.3631 | -331996.4386 | trib | 646115.1038 | trib | mainSites | sampled | NA | 9.05 | 33.96 | Falls Lake | 2017-11-28 | 13:40 | 14:00 | 2019-11-29 | 40 | n | [20 empty] | 11282017.FL.45.DG.1, 11282017.FL.45.DG.2 |  |  |  | 2017-11-29 | 13:58 |  |  | Near Road, yards away | 36.0441 | 78.7582
SU-45 | 1462432.3631 | -331996.4386 | trib | 646115.1038 | trib | mainSites | sampled | NA | 9.05 | 33.96 | Falls Lake | 2017-11-28 | 13:40 | 14:00 | 2019-11-29 | 40 | y | [20 empty] | 11282017.FL.45.DG.1, 11282017.FL.45.DG.2 |  |  |  | 2017-11-29 | 13:58 |  |  |  | 36.0441 | 78.7582
SU-46 | 1460419.5007 | -329793.6592 | trib | 646115.1038 | trib | mainSites | notEval | NA | 9.05 | 33.96 | Falls Lake
SU-46 | 1460419.5007 | -329793.6592 | trib | 646115.1038 | trib | mainSites | NotEval | NA | 9.05 | 33.96 | Falls Lake
SU-47 | 1461044.0072 | -329355.0688 | trib | 646115.1038 | trib | mainSites | sampled | NA | 9.05 | 33.96 | Falls Lake | 2017-11-28 | 14:57 | 15:45 | 2019-11-29 | 50 | n | 1.3 | 0.1 | 13.15 | 112.6 | 11.76 | 0.214 | 8.23 | NA | 11.5 | 12 | [10 empty] | 11282017.FL.47.DG.1, 11282017.FL.47.DG.2 |  |  |  | 2017-11-29 | 15:44 | 8 |  |  | 36.0685 | 78.7685
SU-47 | 1461044.0072 | -329355.0688 | trib | 646115.1038 | trib | mainSites | sampled | NA | 9.05 | 33.96 | Falls Lake | 2017-11-28 | 14:57 | 15:45 | 2019-11-29 | 50 | y | 1.3 | 0.1 | 13.15 | 112.6 | 11.76 | 0.214 | 8.23 | NA | 11.5 | 12 | [10 empty] | 11282017.FL.47.DG.1, 11282017.FL.47.DG.2 |  |  |  | 2017-11-29 | 15:44 | 8 |  |  | 36.0685 | 78.7685
SU-48 | 1459214.3085 | -329057.1478 | trib | 646115.1038 | trib | mainSites | notEval | NA | 9.05 | 33.96 | Falls Lake
SU-48 | 1459214.3085 | -329057.1478 | trib | 646115.1038 | trib | mainSites | NotEval | NA | 9.05 | 33.96 | Falls Lake
SU-49 | 1462405.3835 | -331127.9209 | trib | 646115.1038 | trib | mainSites | sampled | NA | 9.05 | 33.96 | Falls Lake | 2017-11-28 | 13:58 | 14:27 | 2019-11-29 | 50 | n | 1.8 | 0.1 | 11.63 | 103.5 | 11.16 | 0.201 | 7.53 | NA | 10.5 | 15.9 | [10 empty] | 11282017.FL.49.DG.1, 11282017.FL.49.DG.2 |  |  |  | 2017-11-29 | 14:25 | 2 |  | Two side XXX vial, Lots of bird on XXXX | 36.0513 | 78.7569
SU-49 | 1462405.3835 | -331127.9209 | trib | 646115.1038 | trib | mainSites | sampled | NA | 9.05 | 33.96 | Falls Lake | 2017-11-28 | 13:58 | 14:27 | 2019-11-29 | 50 | y | 1.8 | 0.1 | 11.63 | 103.5 | 11.16 | 0.201 | 7.53 | NA | 10.5 | 15.9 | [10 empty] | 11282017.FL.49.DG.1, 11282017.FL.49.DG.2 |  |  |  | 2017-11-29 | 14:25 | 2 |  |  | 36.0513 | 78.7569
SU-50 | 1459545.6584 | -329684.5925 | trib | 646115.1038 | trib | mainSites | sampled | NA | 9.05 | 33.96 | Falls Lake
SU-50 | 1459545.6584 | -329684.5925 | trib | 646115.1038 | trib | mainSites | sampled | NA | 9.05 | 33.96 | Falls Lake
SU-51 | 1460710.1035 | -331828.0701 | trib | 646115.1038 | trib | mainSites | notEval | NA | 9.05 | 33.96 | Falls Lake
SU-51 | 1460710.1035 | -331828.0701 | trib | 646115.1038 | trib | mainSites | NotEval | NA | 9.05 | 33.96 | Falls Lake
SU-52 | 1461494.6967 | -327926.4661 | trib | 646115.1038 | trib | mainSites | sampled | NA | 9.05 | 33.96 | Falls Lake |  |  | 9:10 | 2019-11-30 | 50 | n | 0.6 | 0.1 | 10.23 | 100.6 | 11.29 | 0.212 | 8.18 | NA | 17.6 | 12.5
SU-52 | 1461494.6967 | -327926.4661 | trib | 646115.1038 | trib | mainSites | sampled | NA | 9.05 | 33.96 | Falls Lake |  |  | 9:10 | 2019-11-30 | 50 | y | 0.6 | 0.1 | 10.23 | 100.6 | 11.29 | 0.212 | 8.18 | NA | 17.6 | 12.5
SU-53 | 1458850.1861 | -329663.8483 | trib | 646115.1038 | trib | mainSites | sampled | NA | 9.05 | 33.96 | Falls Lake
SU-53 | 1458850.1861 | -329663.8483 | trib | 646115.1038 | trib | mainSites | sampled | NA | 9.05 | 33.96 | Falls Lake
SU-54 | 1461556.4189 | -330515.0832 | trib | 646115.1038 | trib | mainSites | sampled | NA | 9.05 | 33.96 | Falls Lake | 2017-11-28 | 14:33 | 14:57 | 2019-11-29 | 55 | n | 0.8 | 0.1 | 12.31 | 110.8 | 11.8 | 0.221 | 7.8 | NA | 14.9 | 17.9 | [14 empty] | 2017-11-29 | 14:57 | 3 |  | Trap pass broke | 36.0579 | 78.7652
SU-54 | 1461556.4189 | -330515.0832 | trib | 646115.1038 | trib | mainSites | sampled | NA | 9.05 | 33.96 | Falls Lake | 2017-11-28 | 14:33 | 14:57 | 2019-11-29 | 55 | y | 0.8 | 0.1 | 12.31 | 110.8 | 11.8 | 0.221 | 7.8 | NA | 14.9 | 17.9 | [14 empty] | 2017-11-29 | 14:57 | 3 |  |  | 36.0579 | 78.7652
SU-55 | 1461966.0872 | -331004.3315 | trib | 646115.1038 | trib | overSamp | sampled | NA | 9.05 | 33.96 | Falls Lake | 2017-11-28 | 14:00 | 14:47 | 2019-11-29 | 50 | n | 1.6 | 0.1 | 12.52 | 107 | 11.34 | 0.212 | 7.67 | NA | 12.5 | 72.5 | [14 empty] | 2017-11-29 | 14:45 | 2 |  |  | 36.0533 | 78.7617
SU-55 | 1461966.0872 | -331004.3315 | trib | 646115.1038 | trib | OverSamp | sampled | NA | 9.05 | 33.96 | Falls Lake | 2017-11-28 | 14:00 | 14:47 | 2019-11-29 | 50 | y | 1.6 | 0.1 | 12.52 | 107 | 11.34 | 0.212 | 7.67 | NA | 12.5 | 72.5 | [14 empty] | 2017-11-29 | 14:45 | 2 |  |  | 36.0533 | 78.7617
SU-56 | 1461153.3384 | -328803.3603 | trib | 646115.1038 | trib | overSamp | sampled | NA | 9.05 | 33.96 | Falls Lake |  |  | 9:26 | 2019-11-30 | 50 | n | 1.4 | 0.1 | 10.16 | 102.8 | 11.6 | 0.213 | 7.96 | NA | 11.3 | 11.3
SU-56 | 1461153.3384 | -328803.3603 | trib | 646115.1038 | trib | OverSamp | sampled | NA | 9.05 | 33.96 | Falls Lake |  |  | 9:26 | 2019-11-30 | 50 | y | 1.4 | 0.1 | 10.16 | 102.8 | 11.6 | 0.213 | 7.96 | NA | 11.3 | 11.3
SU-57 | 1462816.7065 | -331412.9729 | trib | 646115.1038 | trib | overSamp | sampled | NA | 9.05 | 33.96 | Falls Lake | 2017-11-28 | 13:52 | 14:14 | 2019-11-29 | 50 | n | 0.8 | 0.1 | 11.75 | 102 | 11.06 | 0.172 | 8.52 | NA | 9.6 | 8 | [14 empty] | 2017-11-29 | 14:14 |  |  |  | 36.0486 | 78.7521
SU-57 | 1462816.7065 | -331412.9729 | trib | 646115.1038 | trib | OverSamp | sampled | NA | 9.05 | 33.96 | Falls Lake | 2017-11-28 | 13:52 | 14:14 | 2019-11-29 | 50 | y | 0.8 | 0.1 | 11.75 | 102 | 11.06 | 0.172 | 8.52 | NA | 9.6 | 8 | [14 empty] | 2017-11-29 | 14:14 |  |  |  | 36.0486 | 78.7521
SU-58 | 1460422.9057 | -329450.8554 | trib | 646115.1038 | trib | overSamp | sampled | NA | 9.05 | 33.96 | Falls Lake | 2017-11-28 | 14:50 | 15:04 | 2019-11-29 | 50 | n | 0.8 | 0.1 | 12.27 | 106.3 | 11.38 | 0.247 | 8.17 | NA | 13.8 | 21.3 | [13 empty] | 759.7 | 2017-11-29 | 15:32 | 5 |  | BM 759.7 mmHG | 36.0686 | 78.776
SU-58 | 1460422.9057 | -329450.8554 | trib | 646115.1038 | trib | OverSamp | sampled | NA | 9.05 | 33.96 | Falls Lake | 2017-11-28 | 14:50 | 15:04 | 2019-11-29 | 50 | y | 0.8 | 0.1 | 12.27 | 106.3 | 11.38 | 0.247 | 8.17 | NA | 13.8 | 21.3 | [14 empty] | 2017-11-29 | 15:32 | 5 |  |  | 36.0686 | 78.776
SU-59 | 1461126.2994 | -330087.5029 | trib | 646115.1038 | trib | overSamp | notEval | NA | 9.05 | 33.96 | Falls Lake
SU-59 | 1461126.2994 | -330087.5029 | trib | 646115.1038 | trib | OverSamp | NotEval | NA | 9.05 | 33.96 | Falls Lake
SU-60 | 1459428.8875 | -328451.935 | trib | 646115.1038 | trib | overSamp | notEval | NA | 9.05 | 33.96 | Falls Lake
SU-60 | 1459428.8875 | -328451.935 | trib | 646115.1038 | trib | OverSamp | NotEval | NA | 9.05 | 33.96 | Falls Lake
SU-61 | 1462124.2587 | -330939.5687 | trib | 646115.1038 | trib | overSamp | sampled | NA | 9.05 | 33.96 | Falls Lake | 2017-11-28 | 14:04 | 14:37 | 2019-11-29 | 45 | n | 1.5 | 0.1 | 12.75 | 102.1 | 10.85 | 0.206 | 7.63 | NA | 12 | 14.6 | [14 empty] | 2017-11-29 | 14:36 | 22 | 11282017.FL.61.BT.1 |  | 36.0535 | 78.7595
SU-61 | 1462124.2587 | -330939.5687 | trib | 646115.1038 | trib | OverSamp | NotEval | NA | 9.05 | 33.96 | Falls Lake | 2017-11-28 | 14:04 | 14:37 | 2019-11-29 | 45 | y | 1.5 | 0.1 | 12.75 | 102.1 | 10.85 | 0.206 | 7.63 | NA | 12 | 14.6 | [14 empty] | 2017-11-29 | 14:36 | 22 | 11282017.FL.61.BT.1 |  | 36.0535 | 78.7595
SU-62 | 1459570.5018 | -329512.4728 | trib | 646115.1038 | trib | overSamp | notEval | NA | 9.05 | 33.96 | Falls Lake
SU-62 | 1459570.5018 | -329512.4728 | trib | 646115.1038 | trib | OverSamp | NotEval | NA | 9.05 | 33.96 | Falls Lake
SU-63 | 1461188.3192 | -330777.6656 | trib | 646115.1038 | trib | overSamp | sampled | NA | 9.05 | 33.96 | Falls Lake | 2017-11-28 | 14:26 | 15:07 | 2019-11-29 | 55 | n | 1.5 | 0.1 | 11.67 | 108.5 | 11.66 | 0.211 | 7.92 | NA | 15.2 | 12.7 | [14 empty] | 2017-11-29 | 15:07 | 1 |  |  | 36.0561 | 78.7702
SU-63 | 1461188.3192 | -330777.6656 | trib | 646115.1038 | trib | OverSamp | NotEval | NA | 9.05 | 33.96 | Falls Lake | 2017-11-28 | 14:26 | 15:07 | 2019-11-29 | 55 | y | 1.5 | 0.1 | 11.67 | 108.5 | 11.66 | 0.211 | 7.92 | NA | 15.2 | 12.7 | [14 empty] | 2017-11-29 | 15:07 | 1 |  |  | 36.0561 | 78.7702
SU-64 | 1459638.6019 | -328615.2211 | trib | 646115.1038 | trib | overSamp | notEval | NA | 9.05 | 33.96 | Falls Lake
SU-64 | 1459638.6019 | -328615.2211 | trib | 646115.1038 | trib | OverSamp | NotEval | NA | 9.05 | 33.96 | Falls Lake
SU-65 | 1458234.7385 | -330010.8762 | trib | 646115.1038 | trib | overSamp | notEval | NA | 9.05 | 33.96 | Falls Lake
SU-65 | 1458234.7385 | -330010.8762 | trib | 646115.1038 | trib | OverSamp | NotEval | NA | 9.05 | 33.96 | Falls Lake
SU-66 | 1461647.0779 | -330045.9494 | trib | 646115.1038 | trib | overSamp | notEval | NA | 9.05 | 33.96 | Falls Lake
SU-66 | 1461647.0779 | -330045.9494 | trib | 646115.1038 | trib | OverSamp | NotEval | NA | 9.05 | 33.96 | Falls Lake
SU-67 | 1461742.2885 | -331417.5439 | trib | 646115.1038 | trib | overSamp | notEval | NA | 9.05 | 33.96 | Falls Lake
SU-67 | 1461742.2885 | -331417.5439 | trib | 646115.1038 | trib | OverSamp | NotEval | NA | 9.05 | 33.96 | Falls Lake
SU-68 | 1461175.2208 | -329223.5586 | trib | 646115.1038 | trib | overSamp | sampled | NA | 9.05 | 33.96 | Falls Lake |  |  | 9:38 | 2019-11-30 | 50 | n | 1.5 | 0.1 | 10.05 | 97.3 | 10.96 | 0.217 | 7.91 | NA | 12.5 | 14
SU-68 | 1461175.2208 | -329223.5586 | trib | 646115.1038 | trib | OverSamp | NotEval | NA | 9.05 | 33.96 | Falls Lake |  |  | 9:38 | 2019-11-30 | 50 | y | 1.5 | 0.1 | 10.05 | 97.3 | 10.96 | 0.217 | 7.91 | NA | 12.5 | 14
SU-69 | 1458438.2689 | -329652.2551 | trib | 646115.1038 | trib | OverSamp | NotEval | NA | 9.05 | 33.96 | Falls Lake
SU-69 | 1458438.2689 | -329652.2551 | trib | 646115.1038 | trib | OverSamp | NotEval | NA | 9.05 | 33.96 | Falls Lake
SU-70 | 1461635.33 | -329297.862 | trib | 646115.1038 | trib | OverSamp | NotEval | NA | 9.05 | 33.96 | Falls Lake
SU-70 | 1461635.33 | -329297.862 | trib | 646115.1038 | trib | OverSamp | NotEval | NA | 9.05 | 33.96 | Falls Lake
SU-71 | 1460210.701 | -329218.6291 | trib | 646115.1038 | trib | OverSamp | NotEval | NA | 9.05 | 33.96 | Falls Lake
SU-71 | 1460210.701 | -329218.6291 | trib | 646115.1038 | trib | OverSamp | NotEval | NA | 9.05 | 33.96 | Falls Lake
SU-72 | 1461503.0405 | -328794.6001 | trib | 646115.1038 | trib | OverSamp | NotEval | NA | 9.05 | 33.96 | Falls Lake
SU-72 | 1461503.0405 | -328794.6001 | trib | 646115.1038 | trib | OverSamp | NotEval | NA | 9.05 | 33.96 | Falls Lake