## data
F1 |  |  | F2 | [15 empty] | F3 | [6 empty] | F5 | [44 empty] | F7 |  |  | F12
lake.id | site.id | eval.status | lat | long | trap.deply.date | trap.deply.time | trap.rtrvl.date | trap.rtrvl.time | trap.volume | trap.volume.flag | trap.extn1 | trap.extn1.notes | trap.extn2 | trap.extn2.notes | trap.extn3 | trap.extn3.notes | trap.flag | trap.comment | chamb.deply.date | chamb.deply.time | chamb.water.temp | chamb.grad.a | chamb.grad.b | chamb.flag | chamb.comment | site.depth | sample.depth.s | temp.s | do.mg.s | sp.cond.s | ph.s | chl.s | phyc.s | turb.s | temp.s.flag | do.mg.s.flag | sp.cond.s.flag | ph.s.flag | chl.s.flag | phyc.s.flag | turb.s.flag | temp.s.comment | do.mg.s.comment | sp.cond.s.comment | ph.s.comment | chl.s.comment | phyc.s.comment | turb.s.comment | sample.depth.d | temp.d | do.mg.d | sp.cond.d | ph.d | chl.d | phyc.d | turb.d | temp.d.flag | do.mg.d.flag | sp.cond.d.flag | ph.d.flag | chl.d.flag | phyc.d.flag | turb.d.flag | temp.d.comment | do.mg.d.comment | sp.cond.d.comment | ph.d.comment | chl.d.comment | phyc.d.comment | turb.d.comment | air.extn.1 | air.extn.2 | air.extn.3 | ch4.check | co2.check | ch4.co2.check.date | ch4.co2.check.start.time
1033 | 24 | TS | 35.9419 | 78.588 | 02.13.2018 | 9:20 | 02.14.2018 | 9:00 | 0 | [9 empty] | 02.14.2018 | 9:00 | 8.2 | 55 | 55 |  |  | 3 | 0.1 | 8.58 | 11.2 | 0.088 | 7.72 | 7.8 |  | 4
1033 | 16 | TS | 35.9568 | 78.5904 | 02.13.2018 | 9:25 | 02.14.2018 | 9:15 | 5 | [9 empty] | 02.14.2018 | 9:14 | 8.6 | 55 | 55 |  |  | 5.3 |  | 9.09 | 12.2 | 0.086 | 7.51 | 10.8 |  | 7.7
1033 | 2 | TS | 35.9762 | 78.589 | 02.13.2018 | 9:35 | 02.14.2018 | 9:30 | 0 | [9 empty] | 02.14.2018 | 9:30 | 8.9 | 45 | 45 |  |  | 3.2 |  | 8.54 | 12 | 0.088 | 7.65 | 8.9 |  | 5.6 | [36 empty] | FL.02.AA.1 | FL.02.AA.2 | FL.02.AA.3
1033 | 5 | TS | 35.9701 | 78.6213 | 02.13.2018 | 9:50 | 02.14.2018 | 9:45 | 3 | [9 empty] | 02.14.2018 | 9:43 | 9.3 | 45 | 45 |  |  | 4.2 |  | 8.93 | 12.7 | 0.092 | 7.64 | 14 |  | 4.1
1033 | 12 | TS | 35.9658 | 78.6341 | 02.13.2018 | 9:55 | 02.14.2018 | 9:55 | 0 | [9 empty] | 02.14.2018 | 9:53 | 9.1 | 45 | 45 |  |  | 4.8 |  | 8.91 | 12.35 | 0.099 | 7.71 | 11.8 |  | 5.7
1033 | 13 | TS | 36.0035 | 78.6463 | 02.13.2018 | 10:10 | 02.14.2018 | 10:10 | 1 | [9 empty] | 02.14.2018 | 10:08 | 9.6 | 45 | 45 |  |  | 4.2 |  | 8.97 | 12.73 | 0.097 | 7.77 | 15.6 |  | 6.1
1033 | 1 | TS | 36.0021 | 78.6345 | 02.13.2018 | 10:15 | 02.14.2018 | 10:20 | 0 | [9 empty] | 02.14.2018 | 10:18 | 10.1 | 45 | 45 |  |  | 4.7 |  | 9.28 | 12.56 | 0.092 | 7.74 | 9.2 |  | 8.6
1033 | 21 | TS | 36.0088 | 78.6281 | 02.13.2018 | 10:20 | 02.14.2018 | 10:28 | 0 | [9 empty] | 02.14.2018 | 10:26 | 10 | 50 | 50 |  |  | 4.2 |  | 9.81 | 12.17 | 0.084 | 7.69 | 13.7 |  | 18.8
1033 | 7 | TS | 36.0056 | 78.6679 | 02.13.2018 | 10:35 | 02.14.2018 | 10:45 | 0 | [7 empty] | 1 | valve open | 02.14.2018 | 10:44 | 9.4 | 50 | 50 |  |  | 7.5 |  | 9.3 | 12.45 | 0.104 | 7.66 | 8.9 |  | 6.1
1033 | 11 | TS | 36.0193 | 78.7171 | 02.13.2018 | 11:00 | 02.14.2018 | 11:00 | 1 | [9 empty] | 02.14.2018 | 10:59 | 10.3 | 50 | 50 |  |  | 3.3 |  | 8.51 | 12 | 0.136 | 7.52 | 10.5 |  | 6.9
1033 | 15 | TS | 36.0229 | 78.7148 | 02.13.2018 | 11:10 | 02.14.2018 | 11:10 | 7 | [9 empty] | 02.14.2018 | 11:07 | 9.9 | 50 | 50 |  |  | 3.9 |  | 9.48 | 11.92 | 0.136 | 7.59 | 14 |  | 7.3
1033 | 14 | TS | 36.0599 | 78.7177 | 02.13.2018 | 11:30 | 02.14.2018 | 11:20 | 0 | [9 empty] | 02.14.2018 | 11:20 | 10.9 | 50 | 50 |  |  | 1.2 |  | 10.45 | 12.2 | 0.109 | 7.6 | 12.4 |  | 16.1
1033 | 3 | TS | 36.0322 | 78.7368 | 02.13.2018 | 11:40 | 02.14.2018 | 11:40 | 0 | [9 empty] | 02.14.2018 | 11:37 | 10.3 | 50 | 50 |  |  | 1.4 |  | 10.03 | 12.16 | 0.192 | 7.51 | 12.3 |  | 12.1
1033 | 8 | TS | 36.0189 | 78.7489 | 02.13.2018 | 11:50 | 02.14.2018 | 11:50 | 1 | [9 empty] | 02.14.2018 | 11:48 | 10 | 50 | 50 |  |  | 3.5 |  | 9.67 | 12 | 0.192 | 7.6 | 10.5 |  | 12.6
1033 | 4 | TS | 36.0129 | 78.7635 | 02.13.2018 | 11:55 | 02.14.2018 | 11:55 | 0 | [9 empty] | 02.14.2018 | 11:57 | 10.1 | 50 | 50 |  |  | 1.3 |  | 9.55 | 12.35 | 0.186 | 7.6 | 9.9 |  | 15.2
1033 | 10 | TS | 36.0399 | 78.756 | 02.13.2018 | 12:05 | 02.14.2018 | 12:10 | 0 | [9 empty] | 02.14.2018 | 12:10 | 11.2 | 50 | 50 |  |  | 1.3 |  | 10.25 | 11.76 | 0.203 | 7.55 | 13.3 |  | 20.6
1033 | 45 | TS | 36.0442 | 78.7582 | 02.13.2018 | 12:15 | 02.14.2018 | 12:20 | 0 | [9 empty] | 02.14.2018 | 12:20 | 11.5 | 50 | 50 |  |  | 2.1 |  | 10.4 | 11.96 | 0.205 | 7.59 | 12.1 |  | 21.4
1033 | 57 | TS | 36.0485 | 78.7524 | 02.13.2018 | 12:30 | 02.14.2018 | 12:30 | 0 | [9 empty] | 02.14.2018 | 12:31 | 11.5 | 50 | 50 |  |  | 1.8 |  | 10.4 | 11.87 | 0.198 | 7.54 | 15.9 |  | 27.7
1033 | 49 | TS | 36.0513 | 78.7571 | 02.13.2018 | 12:40 | 02.14.2018 | 12:40 | 2 | [9 empty] | 02.14.2018 | 12:41 | 11.2 | 50 | 50 |  |  | 2.4 |  | 10.44 | 11.9 | 0.19 | 7.63 | 11 |  | 28
1033 | 61 | TS | 36.0535 | 78.7595 | 02.13.2018 | 12:45 | 02.14.2018 | 12:50 | 1 | [9 empty] | 02.14.2018 | 12:49 | 11.4 | 50 | 50 |  |  | 2.1 |  | 10.4 | 11.8 | 0.188 | 7.66 | 13.5 |  | 35.9
1033 | 55 | TS | 36.0532 | 78.7619 | 02.13.2018 | 12:50 | 02.14.2018 | 12:57 | 9 | [9 empty] | 02.14.2018 | 12:56 | 11.4 | 50 | 50 |  |  | 2.2 |  | 10.44 | 11.56 | 0.189 | 7.63 | 11.6 |  | 36.4
1033 | 54 | TS | 36.0579 | 78.7653 | 02.13.2018 | 12:55 | 02.14.2018 | 13:05 | 0 | [9 empty] | 02.14.2018 | 13:06 | 11.3 | 50 | 50 |  |  | 1.6 |  | 10.72 | 10.75 | 0.172 | 7.61 | 12 |  | 56.6
1033 | 63 | TS | 36.056 | 78.7704 | 02.13.2018 | 13:05 | 02.14.2018 | 13:15 | 0 | [9 empty] | 02.14.2018 | 13:15 | 11.1 | 50 | 50 |  |  | 2 |  | 10.64 | 11.39 | 0.172 | 7.59 | 11.8 |  | 62.6
1033 | 43 | TS | 36.0615 | 78.7732 | 02.13.2018 | 13:10 | 02.14.2018 | 13:25 | 0 | [9 empty] | 02.14.2018 | 13:26 | 10.9 | 50 | 50 |  |  | 1.9 |  | 10.79 | 10.3 | 0.169 | 7.57 | 11.4 |  | 70.7 | [36 empty] | FL.43.AA.1 | FL.43.AA.2 | FL.43.AA.3
1033 | 59 | TS | 36.0629 | 78.7711 | 02.13.2018 | 13:20 | 02.14.2018 | 13:35 | 9 | [9 empty] | 02.14.2018 | 13:34 | 10.8 | 50 | 50 |  |  | 2.3 |  | 10.63 | 11.14 | 0.175 | 7.58 | 11.8 |  | 58.3
1033 | 58 | TS | 36.0686 | 78.7759 | 02.13.2018 | 13:25 | 02.14.2018 | 13:45 | 0 | [9 empty] | 02.14.2018 | 13:45 | 10.5 | 50 | 50 |  |  | 1.5 |  | 10.48 | 11.16 | 0.163 | 7.55 | 11.3 |  | 76.7
1033 | 47 | TS | 36.0684 | 78.7688 | 02.13.2018 | 13:35 | 02.14.2018 | 13:55 | 7 | [9 empty] | 02.14.2018 | 13:59 | 10.8 | 50 | 50 |  |  | 1.9 |  | 10.7 | 10.07 | 0.176 | 7.6 | 12 |  | 59.5
1033 | 68 | TS | 36.0693 | 78.767 | 02.13.2018 | 13:40 | 02.14.2018 | 14:05 | 4 | [9 empty] | 02.14.2018 | 14:06 | 10.9 | 50 | 50 |  |  | 2 |  | 10.69 | 11.18 | 0.173 | 7.55 | 13.5 |  | 55.3
1033 | 56 | TS | 36.073 | 78.7662 | 02.13.2018 | 13:45 | 02.14.2018 | 14:15 | 0 | [9 empty] | 02.14.2018 | 14:16 | 10.9 | 50 | 50 |  |  | 2 |  | 10.88 | 10.75 | 0.18 | 7.51 | 14.7 |  | 45.2
1033 | 52 | TS | 36.0794 | 78.7608 | 02.13.2018 | 13:55 | 02.14.2018 | 14:25 | 2 | [9 empty] | 02.14.2018 | 14:25 | 11 | 50 | 50 |  |  | 1.2 |  | 10.87 | 10.55 | 0.184 | 7.47 | 12.3 |  | 42

## data.dictionary
Field | Description | Format
lake.id | unique identifier for each reservoir | numeric (no letters or dash)
site.id | unique identifier for each sampling site within a reservoir | numeric (no letters or dash)
eval.status | status of each evaluated sampling site | two digit alphabetic code: 'TS': target sampled 'NS': Target, not sampled. Site not sampled due to resource constraints (ran out of time) 'PI': Physically inaccessible
lat | sampling site latitude | 8 digit numeric (xx.xxxxxx)
long | sampling site longitude | 8 digit numeric (xx.xxxxxx)
trap.deply.date | date of trap deployment | mm.dd.yyyy
trap.deply.time | time of trap deployment | military time (hh:mm)
trap.rtrvl.date | date of trap retrieval | mm.dd.yyyy
trap.rtrvl.time | time of trap retrieval | military time (hh:mm)
trap.volume | total volume of gas recovered from trap | mL
trap.volume.flag | >' if gas was lost during sampling and total volume is an underestimate. '<' if volume was below recorded graduation (e.g. < 1mL). Otherwise blank | > or <
trap.extn1 | code for first exetainer collected from trap | eight digit alphanumeric code (SG200185)
trap.extn1.notes | field notes
trap.extn2 | code for second exetainer collected from trap | eight digit alphanumeric code (SG200185)
trap.extn2.notes | field notes
trap.extn3 | code for third exetainer collected from trap | eight digit alphanumeric code (SG200185)
trap.extn3.notes | field notes
trap.flag | 1 if there was a problem, blank if no problem. | numeric
trap.comment | any relevant comments from field sheets
chamb.deply.date | floating chamber deployment date | mm.dd.yyyy
chamb.deply.time | floating chamber deployment time | military time (hh:mm)
chamb.water.temp | if shallow sonde measurements were not made when chamber was deployed, then enter water temperature from F3, otherwise blank | numeric (celcius)
chamb.grad.a | field crew recorded chamber graduations on both ends of chamber. Enter the first value here. | numeric
chamb.grad.b | field crew recorded chamber graduations on both ends of chamber. Enter the second value here. | numeric
chamb.flag | 1 if there was a problem, blank if no problem. | numeric
chamb.comment | any relevant comments from field sheets
site.depth | total depth at sampling site | numeric (meters)
sample.depth.s | shallow sampling depth. Nearly always 0.1 | numeric (meters)
temp.s | shallow water temperature | numeric (celcius)
do.mg.s | shallow dissolved oxygen | numeric (mg/L)
sp.cond.s | shallow specific conductivity | numeric (us/cm)
ph.s | shallow pH | numeric
chl.s | shallow chlorophyll | numeric (ug/L)
phyc.s | shallow phycocyanin | numeric (ug/L)
turb.s | shallow turbidity | numeric (NTU)
temp.s.flag | shallow water temperature flag. 1 if there was a problem, blank if no problem.
do.mg.s.flag | shallow dissolved oxygen flag. 1 if there was a problem, blank if no problem.
sp.cond.s.flag | shallow specific conductivity flag. 1 if there was a problem, blank if no problem.
ph.s.flag | shallow pH flag. 1 if there was a problem, blank if no problem.
chl.s.flag | shallow chlorophyll flag. 1 if there was a problem, blank if no problem.
phyc.s.flag | shallow phycocyanin flag. 1 if there was a problem, blank if no problem.
turb.s.flag | shallow turbidity flag. 1 if there was a problem, blank if no problem.
temp.s.comment | any relevant comments from field and/or calibration data sheets
do.mg.s.comment | any relevant comments from field and/or calibration data sheets
sp.cond.s.comment | any relevant comments from field and/or calibration data sheets
ph.s.comment | any relevant comments from field and/or calibration data sheets
chl.s.comment | any relevant comments from field and/or calibration data sheets
phyc.s.comment | any relevant comments from field and/or calibration data sheets
turb.s.comment | any relevant comments from field and/or calibration data sheets
sample.depth.d | deep sampling depth. | numeric (meters)
temp.d | deep water temperature | numeric (celcius)
do.mg.d | deep dissolved oxygen | numeric (mg/L)
sp.cond.d | deep specific conductivity | numeric (us/cm)
ph.d | deep pH | numeric
chl.d | deep chlorophyll | numeric (ug/L)
phyc.d | deep phycocyanin | numeric (ug/L)
turb.d | deep turbidity | numeric (NTU)
temp.d.flag | deep water temperature flag. 1 if there was a problem, blank if no problem.
do.mg.d.flag | deep dissolved oxygen flag. 1 if there was a problem, blank if no problem.
sp.cond.d.flag | deep specific conductivity flag. 1 if there was a problem, blank if no problem.
ph.d.flag | deep pH flag. 1 if there was a problem, blank if no problem.
chl.d.flag | deep chlorophyll flag. 1 if there was a problem, blank if no problem.
phyc.d.flag | deep phycocyanin flag. 1 if there was a problem, blank if no problem.
turb.d.flag | deep turbidity flag. 1 if there was a problem, blank if no problem.
temp.d.comment | any relevant comments from field and/or calibration data sheets
do.mg.d.comment | any relevant comments from field and/or calibration data sheets
sp.cond.d.comment | any relevant comments from field and/or calibration data sheets
ph.d.comment | any relevant comments from field and/or calibration data sheets
chl.d.comment | any relevant comments from field and/or calibration data sheets
phyc.d.comment | any relevant comments from field and/or calibration data sheets
turb.d.comment | any relevant comments from field and/or calibration data sheets
air.extn.1 | code for first air exetainer | eight digit alphanumeric code (SG200185)
air.extn.2 | code for second air exetainer | eight digit alphanumeric code (SG200185)
air.extn.3 | code for third air exetainer | eight digit alphanumeric code (SG200185)
ch4.check | ch4 concentration recorded after standard flow through analyzer for 1 minute. First cal check entered in first row. Additional cal checks entered in subsequent rows (only one row populated per cal check) | numeric
co2.check | co2 concentration recorded after standard flow through analyzer for 1 minute. First cal check entered in first row. Additional cal checks entered in subsequent rows (only one row populated per cal check) | numeric
ch4.co2.check.date | date of greenhouse gas analyzer cal check | mm.dd.yyyy
ch4.co2.check.start.time | time greenhouse gas analyzer cal check started | military time (hh:mm)

## dissolved.gas
F12
lake.id | site.id | sample.depth.m | dg.extn | dg.extn.temp | dg.notes | water.vol | air.vol | atm.pressure | air.temperature
1033 | 2 | 0.1 | 02142018.Fl.02.DG.1 | 8.9 |  | 115 | 25
1033 | 2 | 0.1 | 02142018.Fl.02.DG.2 | 8.9 |  | 115 | 25
1033 | 5 | 0.1 | 02142018.Fl.05.DG.1 | 10 |  | 115 | 25
1033 | 5 | 0.1 | 02142018.Fl.05.DG.2 | 10 |  | 115 | 25
1033 | 1 | 0.1 | 02142018.Fl.01.DG.1 | 11.2 |  | 115 | 25
1033 | 1 | 0.1 | 02142018.Fl.01.DG.2 | 11.2 |  | 115 | 25
1033 | 7 | 0.1 | 02142018.Fl.07.DG.1 | 12.1 |  | 115 | 25
1033 | 7 | 0.1 | 02142018.Fl.07.DG.2 | 12.1 |  | 115 | 25
1033 | 15 | 0.1 | 02142018.Fl.15.DG.1 | 11.5 |  | 115 | 25
1033 | 15 | 0.1 | 02142018.Fl.15.DG.2 | 11.5 |  | 115 | 25
1033 | 14 | 0.1 | 02142018.Fl.14.DG.1 | 10.9 |  | 115 | 25
1033 | 14 | 0.1 | 02142018.Fl.14.DG.2 | 10.9 |  | 115 | 25
1033 | 3 | 0.1 | 02142018.Fl.03.DG.1 | 11.5 |  | 115 | 25
1033 | 3 | 0.1 | 02142018.Fl.03.DG.2 | 11.5 |  | 115 | 25
1033 | 4 | 0.1 | 02142018.Fl.04.DG.1 | 12.2 |  | 115 | 25
1033 | 4 | 0.1 | 02142018.Fl.04.DG.2 | 12.2 |  | 115 | 25
1033 | 45 | 0.1 | 02142018.Fl.45.DG.1 | 13.5 |  | 115 | 25
1033 | 45 | 0.1 | 02142018.Fl.45.DG.2 | 13.5 |  | 115 | 25
1033 | 49 | 0.1 | 02142018.Fl.49.DG.1 | 13.5 |  | 115 | 25
1033 | 49 | 0.1 | 02142018.Fl.49.DG.2 | 13.5 | may have small gas volume | 115 | 25
1033 | 43 | 0.1 | 02142018.Fl.43.DG.1 | 12.8 |  | 115 | 25
1033 | 43 | 0.1 | 02142018.Fl.43.DG.2 | 12.8 |  | 115 | 25
1033 | 47 | 0.1 | 02142018.Fl.47.DG.1 | 12.3 |  | 115 | 25
1033 | 47 | 0.1 | 02142018.Fl.47.DG.2 | 12.3 |  | 115 | 25

## dissolved.gas.dictionay
Field | Description | Format
lake.id | unique identifier for each reservoir | three digit numeric code
site.id | unique identifier for each sampling site within a reservoir | one or two letters, dash, two numeric digits (i.e. SU-12)
sample.depth.m | dissolved gas sampling depth | numeric (m)
dg.extn | dissolved gas exetainer code | eight digit alphanumeric code (SG200185)
dg.extn.temp | headspace equilibration temperature | numeric (celcius)
dg.notes | field notes
water.vol | water volume for headspace equilibration. 115 unless stated otherwise | numeric (mL)
air.vol | air volume for headspace equilibration. 25 unless stated otherwise | numeric (mL)
atm.pressure | atmospheric pressure | numeric (mm Hg)