## data
F1 |  |  | F2 | [15 empty] | F3 | [6 empty] | F5 | [44 empty] | F7 |  |  | F12
lake.id | site.id | eval.status | lat | long | trap.deply.date | trap.deply.time | trap.rtrvl.date | trap.rtrvl.time | trap.volume | trap.volume.flag | trap.extn1 | trap.extn1.notes | trap.extn2 | trap.extn2.notes | trap.extn3 | trap.extn3.notes | trap.flag | trap.comment | chamb.deply.date | chamb.deply.time | chamb.water.temp | chamb.grad.a | chamb.grad.b | chamb.flag | chamb.comment | site.depth | sample.depth.s | temp.s | do.mg.s | sp.cond.s | ph.s | chl.s | phyc.s | turb.s | temp.s.flag | do.mg.s.flag | sp.cond.s.flag | ph.s.flag | chl.s.flag | phyc.s.flag | turb.s.flag | temp.s.comment | do.mg.s.comment | sp.cond.s.comment | ph.s.comment | chl.s.comment | phyc.s.comment | turb.s.comment | sample.depth.d | temp.d | do.mg.d | sp.cond.d | ph.d | chl.d | phyc.d | turb.d | temp.d.flag | do.mg.d.flag | sp.cond.d.flag | ph.d.flag | chl.d.flag | phyc.d.flag | turb.d.flag | temp.d.comment | do.mg.d.comment | sp.cond.d.comment | ph.d.comment | chl.d.comment | phyc.d.comment | turb.d.comment | air.extn.1 | air.extn.2 | air.extn.3 | ch4.check | co2.check | ch4.co2.check.date | ch4.co2.check.start.time
1033 | 24 | TS | 35.9421 | 78.588 | 01.12.2018 | 10:34 | 01.13.2018 | 9:15 | 25 |  | FL.24.BT.1 | [7 empty] | 01.13.2018 | 9:17 | 5.3 | 45 | 45 |  |  | 1.5 | 0.1 | 4.82 | 10.2 | 0.085 | 7.47 | 5.4 |  | 3.2
1033 | 16 | TS | 35.9567 | 78.5905 | 01.12.2018 | 10:48 | 01.13.2018 | 9:31 | 64 |  | FL.16.BT.1 |  | FL.16.BT.2 | [5 empty] | 01.13.2018 | 9:31 | 6 | 50 | 50 |  |  | 6.1 | 0.1 | 7.83 | 10.21 | 0.086 | 7.83 | 5 |  | 2.1
1033 | 2 | TS | 35.9762 | 78.589 | 01.12.2018 | 10:59 | 01.13.2018 | 9:50 | 0 | [7 empty] | 1 | Trap broken and @ angle | 01.13.2018 | 9:51 | 8.3 | 50 | 50 |  |  | 3.1 | 0.1 | 7 | 11.57 | 0.089 | 7.71 | 3.1 |  | 2.5 | [36 empty] | Fl.02.AA.1 | Fl.02.AA.2
1033 | 5 | TS | 35.9702 | 78.6212 | 01.12.2018 | 11:12 | 01.13.2018 | 10:26 | 45 |  | FL.05.BT.1 |  | FL.05.BT.2 | [5 empty] | 01.13.2018 | 10:26 | 7.6 | 50 | 50 |  |  | 3.2 | 0.1 | 7.63 | 9.96 | 0.087 | 7.88 | 5.1 |  | 1.9
1033 | 12 | TS | 35.9655 | 78.634 | 01.12.2018 | 11:21 | 01.13.2018 | 10:37 | 10 | [9 empty] | 01.13.2018 | 10:38 | 5.8 | 50 | 50 |  |  | 5.2 | 0.1 | 6.49 | 10.55 | 0.088 | 7.78 | 5.2 |  | 1.8
1033 | 13 | TS | 36.0037 | 78.6463 | 01.12.2018 | 11:33 | 01.13.2018 | 10:54 | 0 | [9 empty] | 01.13.2018 | 10:54 | 6.5 | 50 | 50 |  |  | 5.6 | 0.1 | 8.23 | 12.78 | 0.09 | 7.71 | 10.5 |  | 2.1
1033 | 1 | TS | 36.0022 | 78.6345 | 01.12.2018 | 11:44 | 01.13.2018 | 11:05 | 0 | [9 empty] | 01.13.2018 | 11:06 | 6 | 50 | 50 |  |  | 3.9 | 0.1 | 5.54 | 11.87 | 0.091 | 7.72 | 10.1 |  | 2.2
1033 | 21 | TS | 36.0089 | 78.6281 | 01.12.2018 | 11:52 | 01.13.2018 | 11:15 | 1 | [9 empty] | 01.13.2018 | 11:17 | 6.8 | 50 | 50 |  |  | 4.4 | 0.1 | 5.79 | 11.91 | 0.092 | 7.76 | 6.1 |  | 2.4
1033 | 7 | TS | 36.0056 | 78.6679 | 01.12.2018 | 12:05 | 01.13.2018 | 11:34 | 14 | [9 empty] | 01.13.2018 | 11:35 | 5.6 | 50 | 50 |  |  | 9 | 0.1 | 4.4 | 11.57 | 0.1 | 7.66 | 19.2 |  | 131.1
1033 | 11 | TS | 36.0195 | 78.7171 | 01.12.2018 | 12:34 | 01.13.2018 | 11:55 | 0 | [7 empty] | 1 | One leg off trap | 01.13.2018 | 11:56 | 6 | 50 | 50 |  |  | 2.6 | 0.1 | 4.73 | 11.8 | 0.117 | 7.91 | 5.3 |  | 2.2
1033 | 15 | TS | 36.023 | 78.7147 | 01.12.2018 | 12:42 | 01.13.2018 | 12:07 | 0 | [9 empty] | 01.13.2018 | 12:08 | 6 | 50 | 50 |  |  | 3.8 | 0.1 | 4.67 | 12.54 | 0.117 | 7.73 | 6.4 |  | 2.6
1033 | 14 | TS | 36.0601 | 78.7178 | 01.12.2018 | 12:55 | 01.13.2018 | 12:25 | 29 |  | FL.14.BT.1 | [7 empty] | 01.13.2018 | 12:25 | 9.9 | 50 | 50 |  |  | 1 | 0.1 | 7.86 | 12.87 | 0.109 | 7.66 | 6.5 |  | 5
1033 | 3 | TS | 36.0323 | 78.7367 | 01.12.2018 | 13:28 | 01.13.2018 | 12:46 | 0 | [9 empty] | 01.13.2018 | 12:47 | 8 | 45 | 45 |  |  | 0.8 | 0.1 | 4.88 | 12.58 | 0.108 | 7.74 | 4.3 |  | 4.8
1033 | 8 | TS | 36.0191 | 78.7488 | 01.12.2018 | 13:39 | 01.13.2018 | 13:03 | 2 | [9 empty] | 01.13.2018 | 13:04 | 7.2 | 45 | 45 |  |  | 3.4 | 0.1 | 5.28 | 13.47 | 0.148 | 7.71 | 5.7 |  | 4
1033 | 4 | TS | 36.0136 | 78.7599 | 01.12.2018 | 13:51 | 01.13.2018 | 13:15 | 2 | [9 empty] | 01.13.2018 | 13:16 | 8.6 | 50 | 50 |  |  | 0.8 | 0.1 | 6.3 | 13.8 | 0.144 | 7.8 | 7 |  | 6.3
1033 | 10 | TS | 36.0403 | 78.7559 | 01.12.2018 | 14:11 | 01.13.2018 | 13:35 | 13 | [9 empty] | 01.13.2018 | 13:36 | 7.3 | 50 | 50 |  |  | 1.2 | 0.1 | 6 | 12.45 | 0.175 | 7.98 | 9.8 |  | 5.7
1033 | 45 | TS | 36.0442 | 78.7582 | 01.12.2018 | 14:17 | 01.13.2018 | 13:47 | 0 | [9 empty] | 01.13.2018 | 13:47 | 7.6 | 50 | 50 |  |  | 1.6 | 0.1 | 6.46 | 12.85 | 0.187 | 7.91 | 6.8 |  | 6.7
1033 | 57 | TS | 36.0484 | 78.7522 | 01.12.2018 | 14:28 | 01.13.2018 | 14:00 | 2 | [7 empty] | 1 | One leg off trap | 01.13.2018 | 14:01 | 8.7 | 50 | 50 |  |  | 1.3 | 0.1 | 7.26 | 12.48 | 0.198 | 7.96 | 10.5 |  | 8.4
1033 | 49 | TS | 36.0513 | 78.757 | 01.12.2018 | 14:37 | 01.13.2018 | 14:17 | 8 | [9 empty] | 01.13.2018 | 14:18 | 8.7 | 50 | 50 |  |  | 2 | 0.1 | 6.69 | 12.66 | 0.235 | 7.91 | 15.5 |  | 11.4
1033 | 55 | TS | 36.0532 | 78.7616 | 01.12.2018 | 14:42 | 01.13.2018 | 14:38 | 8 | [9 empty] | 01.13.2018 | 14:35 | 8.5 | 50 | 50 |  |  | 1.4 | 0.1 | 7.41 | 13.59 | 0.24 | 7.9 | 10 |  | 14.8
1033 | 61 | TS | 36.0535 | 78.7595 | 01.12.2018 | 14:47 | 01.13.2018 | 14:10 | 25 |  | FL.61.BT.1 | [7 empty] | 01.13.2018 | 14:28 | 8.5 | 50 | 50 |  |  | 1.4 | 0.1 | 7.36 | 13.58 | 0.242 | 7.94 | 8 |  | 12.6
1033 | 63 | TS | 36.0551 | 78.7702 | 01.12.2018 | 15:01 | 01.13.2018 | 15:09 | 3 | [7 empty] | 1 | Valve open | 01.13.2018 | 15:09 | 8.5 | 50 | 50 |  |  | 1.5 | 0.1 | 7.1 | 13.5 | 0.284 | 7.98 | 5.5 |  | 15.4
1033 | 54 | TS | 36.058 | 78.7653 | 01.12.2018 | 15:13 | 01.13.2018 | 14:53 | 60 |  | FL.54.BT.1 |  | FL.54.BT.2 | [5 empty] | 01.13.2018 | 14:53 | 8 | 50 | 50 |  |  | 0.7 | 0.1 | 7.38 | 12.84 | 0.243 | 8.13 | 7 |  | 17
1033 | 43 | TS | 36.0616 | 78.8732 | 01.12.2018 | 15:28 | 01.13.2018 | 15:22 | 102 |  | FL.43.BT.1 |  | FL.43.BT.2 |  | FL.43.BT.3 |  |  |  | 01.13.2018 | 15:22 | 8.5 | 50 | 50 |  |  | 0.7 | 0.1 | 8.07 | 12.45 | 0.296 | 8.08 | 11.6 |  | 23.3 | [36 empty] | Fl.43.AA.1 | Fl.43.AA.2
1033 | 58 | TS | 36.0687 | 78.776 | 01.12.2018 | 15:46 | 01.13.2018 | 16:05 | 96 |  | FL.58.BT.1 |  | FL.58.BT.2 |  | FL.58.BT.3 |  |  |  | 01.13.2018 | 16:05 | 10.1 | 50 | 50 |  |  | 0.8 | 0.1 | 8.86 | 13.54 | 0.298 | 8.08 | 15.7 |  | 24.6
1033 | 47 | TS | 36.0686 | 78.7686 | 01.12.2018 | 16:02 | 01.13.2018 | 16:21 | 14 | [9 empty] | 01.13.2018 | 16:21 | 9.6 | 50 | 50 |  |  | 1.2 | 0.1 | 10.35 | 13.05 | 0.256 | 8.14 | 11.5 |  | 25.2
1033 | 68 | TS | 36.0694 | 78.7669 | 01.12.2018 | 16:09 | 01.13.2018 | 17:08 | 16 | [9 empty] | 01.13.2018 |  |  |  |  | 1 | No sample. Low power/ disconnect | 1.5 | 0.1 | 8.94 | 12.6 | 0.245 | 8.17 | 9.5 |  | 18
1033 | 56 | TS | 36.0729 | 78.7663 | 01.12.2018 | 16:15 | 01.13.2018 | 16:47 | 57 |  | FL.56.BT.1 |  | FL.56.BT.2 | [5 empty] | 01.13.2018 | 16:47 | 9.8 | 50 | 50 |  |  | 1.5 | 0.1 | 8.78 | 13.31 | 0.231 | 8.12 | 8.4 |  | 12.4
1033 | 52 | TS | 36.0791 | 78.7613 | 01.12.2018 | 16:29 | 01.13.2018 | 16:33 | 213 |  | FL.52.BT.1 |  | FL.52.BT.2 |  | FL.52.BT.3 |  | 1 | Trap resting on bottom | 01.13.2018 | 16:33 | 10.5 | 50 | 50 |  |  | 0.9 | 0.1 | 11.15 | 13.35 | 0.237 | 8.1 | 11.2 |  | 18.9
1033 | 59 | TS | 36.0628 | 78.7713 | 01.12.2018 | 16:58 | 01.13.2018 | 15:35 | 75 | > | FL.59.BT.1 |  | FL.59.BT.2 |  | FL.59.BT.3 |  | 1 | Trap moved | 01.13.2018 | 15:36 | 9.1 | 50 | 50 |  |  | 0.8 | 0.1 | 9.15 | 14.01 | 0.297 | 8.2 | 12.2 |  | 24.1

## data.dictionary
Field | Description | Format
lake.id | unique identifier for each reservoir | numeric (no letters or dash)
site.id | unique identifier for each sampling site within a reservoir | numeric (no letters or dash)
eval.status | status of each evaluated sampling site | two digit alphabetic code: 'TS': target sampled 'NS': Target, not sampled. Site not sampled due to resource constraints (ran out of time) 'PI': Physically inaccessible
lat | sampling site latitude | 8 digit numeric (xx.xxxxxx)
long | sampling site longitude | 8 digit numeric (xx.xxxxxx)
trap.deply.date | date of trap deployment | mm.dd.yyyy
trap.deply.time | time of trap deployment | military time (hh:mm)
trap.rtrvl.date | date of trap retrieval | mm.dd.yyyy
trap.rtrvl.time | time of trap retrieval | military time (hh:mm)
trap.volume | total volume of gas recovered from trap | mL
trap.volume.flag | >' if gas was lost during sampling and total volume is an underestimate. '<' if volume was below recorded graduation (e.g. < 1mL). Otherwise blank | > or <
trap.extn1 | code for first exetainer collected from trap | eight digit alphanumeric code (SG200185)
trap.extn1.notes | field notes
trap.extn2 | code for second exetainer collected from trap | eight digit alphanumeric code (SG200185)
trap.extn2.notes | field notes
trap.extn3 | code for third exetainer collected from trap | eight digit alphanumeric code (SG200185)
trap.extn3.notes | field notes
trap.flag | 1 if there was a problem, blank if no problem. | numeric
trap.comment | any relevant comments from field sheets
chamb.deply.date | floating chamber deployment date | mm.dd.yyyy
chamb.deply.time | floating chamber deployment time | military time (hh:mm)
chamb.water.temp | if shallow sonde measurements were not made when chamber was deployed, then enter water temperature from F3, otherwise blank | numeric (celcius)
chamb.grad.a | field crew recorded chamber graduations on both ends of chamber. Enter the first value here. | numeric
chamb.grad.b | field crew recorded chamber graduations on both ends of chamber. Enter the second value here. | numeric
chamb.flag | 1 if there was a problem, blank if no problem. | numeric
chamb.comment | any relevant comments from field sheets
site.depth | total depth at sampling site | numeric (meters)
sample.depth.s | shallow sampling depth. Nearly always 0.1 | numeric (meters)
temp.s | shallow water temperature | numeric (celcius)
do.mg.s | shallow dissolved oxygen | numeric (mg/L)
sp.cond.s | shallow specific conductivity | numeric (us/cm)
ph.s | shallow pH | numeric
chl.s | shallow chlorophyll | numeric (ug/L)
phyc.s | shallow phycocyanin | numeric (ug/L)
turb.s | shallow turbidity | numeric (NTU)
temp.s.flag | shallow water temperature flag. 1 if there was a problem, blank if no problem.
do.mg.s.flag | shallow dissolved oxygen flag. 1 if there was a problem, blank if no problem.
sp.cond.s.flag | shallow specific conductivity flag. 1 if there was a problem, blank if no problem.
ph.s.flag | shallow pH flag. 1 if there was a problem, blank if no problem.
chl.s.flag | shallow chlorophyll flag. 1 if there was a problem, blank if no problem.
phyc.s.flag | shallow phycocyanin flag. 1 if there was a problem, blank if no problem.
turb.s.flag | shallow turbidity flag. 1 if there was a problem, blank if no problem.
temp.s.comment | any relevant comments from field and/or calibration data sheets
do.mg.s.comment | any relevant comments from field and/or calibration data sheets
sp.cond.s.comment | any relevant comments from field and/or calibration data sheets
ph.s.comment | any relevant comments from field and/or calibration data sheets
chl.s.comment | any relevant comments from field and/or calibration data sheets
phyc.s.comment | any relevant comments from field and/or calibration data sheets
turb.s.comment | any relevant comments from field and/or calibration data sheets
sample.depth.d | deep sampling depth. | numeric (meters)
temp.d | deep water temperature | numeric (celcius)
do.mg.d | deep dissolved oxygen | numeric (mg/L)
sp.cond.d | deep specific conductivity | numeric (us/cm)
ph.d | deep pH | numeric
chl.d | deep chlorophyll | numeric (ug/L)
phyc.d | deep phycocyanin | numeric (ug/L)
turb.d | deep turbidity | numeric (NTU)
temp.d.flag | deep water temperature flag. 1 if there was a problem, blank if no problem.
do.mg.d.flag | deep dissolved oxygen flag. 1 if there was a problem, blank if no problem.
sp.cond.d.flag | deep specific conductivity flag. 1 if there was a problem, blank if no problem.
ph.d.flag | deep pH flag. 1 if there was a problem, blank if no problem.
chl.d.flag | deep chlorophyll flag. 1 if there was a problem, blank if no problem.
phyc.d.flag | deep phycocyanin flag. 1 if there was a problem, blank if no problem.
turb.d.flag | deep turbidity flag. 1 if there was a problem, blank if no problem.
temp.d.comment | any relevant comments from field and/or calibration data sheets
do.mg.d.comment | any relevant comments from field and/or calibration data sheets
sp.cond.d.comment | any relevant comments from field and/or calibration data sheets
ph.d.comment | any relevant comments from field and/or calibration data sheets
chl.d.comment | any relevant comments from field and/or calibration data sheets
phyc.d.comment | any relevant comments from field and/or calibration data sheets
turb.d.comment | any relevant comments from field and/or calibration data sheets
air.extn.1 | code for first air exetainer | eight digit alphanumeric code (SG200185)
air.extn.2 | code for second air exetainer | eight digit alphanumeric code (SG200185)
air.extn.3 | code for third air exetainer | eight digit alphanumeric code (SG200185)
ch4.check | ch4 concentration recorded after standard flow through analyzer for 1 minute. First cal check entered in first row. Additional cal checks entered in subsequent rows (only one row populated per cal check) | numeric
co2.check | co2 concentration recorded after standard flow through analyzer for 1 minute. First cal check entered in first row. Additional cal checks entered in subsequent rows (only one row populated per cal check) | numeric
ch4.co2.check.date | date of greenhouse gas analyzer cal check | mm.dd.yyyy
ch4.co2.check.start.time | time greenhouse gas analyzer cal check started | military time (hh:mm)

## dissolved.gas
F12
lake.id | site.id | sample.depth.m | dg.extn | dg.extn.temp | dg.notes | water.vol | air.vol | atm.pressure | air.temperature
1033 | 2 | 0.1 | 01132018.FL.02.DG.1 | 7.5 |  | 115 | 25
1033 | 2 | 0.1 | 01132018.FL.02.DG.2 | 7.5 |  | 115 | 25
1033 | 5 | 0.1 | 01132018.FL.05.DG.1 | 6.9 |  | 115 | 25
1033 | 5 | 0.1 | 01132018.FL.05.DG.2 | 6.9 |  | 115 | 25
1033 | 1 | 0.1 | 01132018.FL.01.DG.1 | 7.3 |  | 115 | 25
1033 | 1 | 0.1 | 01132018.FL.01.DG.2 | 7.3 |  | 115 | 25
1033 | 7 | 0.1 | 01132018.FL.07.DG.1 | 7 |  | 115 | 25
1033 | 7 | 0.1 | 01132018.FL.07.DG.2 | 7 |  | 115 | 25
1033 | 15 | 0.1 | 01132018.FL.15.DG.1 | 6.1 |  | 115 | 25
1033 | 15 | 0.1 | 01132018.FL.15.DG.2 | 6.1 |  | 115 | 25
1033 | 14 | 0.1 | 01132018.FL.14.DG.1 | 8.5 |  | 115 | 25
1033 | 14 | 0.1 | 01132018.FL.14.DG.2 | 8.5 |  | 115 | 25
1033 | 3 | 0.1 | 01132018.FL.03.DG.1 | 8 |  | 115 | 25
1033 | 3 | 0.1 | 01132018.FL.03.DG.2 | 8 |  | 115 | 25
1033 | 4 | 0.1 | 01132018.FL.04.DG.1 | 8.3 |  | 115 | 25
1033 | 4 | 0.1 | 01132018.FL.04.DG.2 | 8.3 |  | 115 | 25
1033 | 45 | 0.1 | 01132018.FL.45.DG.1 | 8 |  | 115 | 25
1033 | 45 | 0.1 | 01132018.FL.45.DG.2 | 8 |  | 115 | 25
1033 | 49 | 0.1 | 01132018.FL.49.DG.1 | 7.4 |  | 115 | 25
1033 | 49 | 0.1 | 01132018.FL.49.DG.2 | 7.4 |  | 115 | 25
1033 | 43 | 0.1 | 01132018.FL.43.DG.1 | 6.2 |  | 115 | 25
1033 | 43 | 0.1 | 01132018.FL.43.DG.2 | 6.2 |  | 115 | 25
1033 | 47 | 0.1 | 01132018.FL.47.DG.1 | 7.1 |  | 115 | 25
1033 | 47 | 0.1 | 01132018.FL.47.DG.2 | 7.1 |  | 115 | 25

## dissolved.gas.dictionay
Field | Description | Format
lake.id | unique identifier for each reservoir | three digit numeric code
site.id | unique identifier for each sampling site within a reservoir | one or two letters, dash, two numeric digits (i.e. SU-12)
sample.depth.m | dissolved gas sampling depth | numeric (m)
dg.extn | dissolved gas exetainer code | eight digit alphanumeric code (SG200185)
dg.extn.temp | headspace equilibration temperature | numeric (celcius)
dg.notes | field notes
water.vol | water volume for headspace equilibration. 115 unless stated otherwise | numeric (mL)
air.vol | air volume for headspace equilibration. 25 unless stated otherwise | numeric (mL)
atm.pressure | atmospheric pressure | numeric (mm Hg)