## data
lakeID | siteID | sample.depth.m | temp.C | do.mg.l | sp.cond.us.cm | pH | chl.a.ug.l | phyc.ug.l | turbidity.ntu | do.flag | cond.flag | pH.flag | chla.flag | phyc.flag | turbidity.flag | do.comment | cond.comment | pH.comment | chla.comment | phyc.comment | turbidity.comment
1033 | 7 | 0.1 | 31.7 | 7.9 | 0.094 | 7.89 | 4.9 |  | 3.4
1033 | 7 | 1 | 31.1 | 7.44 | 0.094 | 8 | 5 |  | 4
1033 | 7 | 2 | 29.1 | 5.89 | 0.093 | 7.95 | 6 |  | 4.9
1033 | 7 | 3 | 28.7 | 4.6 | 0.094 | 7.91 | 5.4 |  | 5
1033 | 7 | 4 | 28 | 0.57 | 0.1 | 7.8 | 5.5 |  | 10.3
1033 | 7 | 5 | 26.8 | 0.42 | 0.134 | 7.47 | 4.5 |  | 12.8
1033 | 7 | 6 | 25.5 | 0.29 | 0.141 | 7.25 | 5.5 |  | 18.5

## data.dictionary
lakeID | three digit numeric code '235'
siteID | one or two letters, dash, two digit numeric code 'SU-08'
sample.depth.m | measurement depth in meters
temp.C | water temperature in celsius
do.mg.l | dissolved oxygen in mg/L
sp.cond.us.cm | specific conductivity in us/cm
pH | pH
chl.a.ug.l | chlorophyll a in ug/L
phyc.ug.l | phycocyanin in ug/L
turbidity.ntu | turbidity in NTU
do.flag | if no problem, blank, else '1'
cond.flag | if no problem, blank, else '1'
pH.flag | if no problem, blank, else '1'
chla.flag | if no problem, blank, else '1'
phyc.flag | if no problem, blank, else '1'
turbidity.flag | if no problem, blank, else '1'
do.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
cond.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
pH.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
chla.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
phyc.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'
turbidity.comment | if no problem, blank, else explanatory comment 'failed post-deployment cal check'